## Surrogate Detection Statistics
Feature ID | MZmine_ID | m/z | Chemical Name | DTXSID | Ionization Mode | Mass | Observed Mass | Mass Error (PPM) | Retention Time | Observed Retention Time | Retention Time Difference | Selected MRL | MRL (3x) | MRL (5x) | MRL (10x) | Duplicate Feature? | Is Adduct or Loss? | Has Adduct or Loss? | Adduct or Loss Info | Max CV Across Samples | Surrogate_Group | Conc MB | Conc 10ppb_ | Conc 100ppb_ | Conc 250ppb_ | Conc 500ppb_ | Conc 1000ppb_ | 1000ppb_1 | 1000ppb_2 | 100ppb_1 | 100ppb_2 | 10ppb_1 | 10ppb_2 | 250ppb_1 | 250ppb_2 | 250ppb_3 | 250ppb_4 | 500ppb_1 | 500ppb_2 | MB1 | MB2 | MB3 | MB4 | MB5 | Mean MB | Mean 1000ppb_ | Mean 100ppb_ | Mean 10ppb_ | Mean 250ppb_ | Mean 500ppb_ | Median MB | Median 1000ppb_ | Median 100ppb_ | Median 10ppb_ | Median 250ppb_ | Median 500ppb_ | STD MB | STD 1000ppb_ | STD 100ppb_ | STD 10ppb_ | STD 250ppb_ | STD 500ppb_ | CV MB | CV 1000ppb_ | CV 100ppb_ | CV 10ppb_ | CV 250ppb_ | CV 500ppb_ | Detection Count MB | Detection Count 1000ppb_ | Detection Count 100ppb_ | Detection Count 10ppb_ | Detection Count 250ppb_ | Detection Count 500ppb_ | Detection Percentage MB | Detection Percentage 1000ppb_ | Detection Percentage 100ppb_ | Detection Percentage 10ppb_ | Detection Percentage 250ppb_ | Detection Percentage 500ppb_ | BlankSub Mean 1000ppb_ | BlankSub Mean 100ppb_ | BlankSub Mean 10ppb_ | BlankSub Mean 250ppb_ | BlankSub Mean 500ppb_ | RF 10ppb_ | RF 100ppb_ | RF 250ppb_ | RF 500ppb_ | RF 1000ppb_
2565 | 1794 | 294.1857 | 10-hydroxy-amitriptyline | DTXSID90873785 | ESI+ | 293.178 | 293.1784 | 1.2873 | 6.7 | 6.7067 | 0.0066627 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2287(H2O); | 0.1364 | 10-hydroxy-amitriptyline |  | 10 | 100 | 250 | 500 | 1000 | 188116.5 | 188116.5 | 23943.703 | 23943.703 | 3060.1472 | 3060.1472 | 54436.598 | 66572.52 | 75812.875 | 62904.504 | 103091.42 | 103091.42 | [5 empty] | 0 | 188116.5 | 23943.703 | 3060.1472 | 64931.6243 | 103091.42 |  | 188116.5 | 23943.703 | 3060.1472 | 64738.512 | 103091.42 |  | 0 | 0 | 0 | 8857.1807 | 0 |  | 0 | 0 | 0 | 0.1364 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 188116.5 | 23943.703 | 3060.1472 | 64931.6243 | 103091.42 | 306.0147 | 239.437 | 259.7265 | 206.1828 | 188.1165
401 | 519 | 152.071 | acetaminophen | DTXSID2020006 | ESI+ | 151.0633 | 151.0637 | 2.6452 | 2.9 | 3.0574 | 0.15745 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1645 | acetaminophen |  | 10 | 100 | 250 | 500 | 1000 | 21246.63 | 21246.63 | 2781.8271 | 2781.8271 | 336.4543 | 336.4543 | 6311.055 | 7617.7974 | 7789.489 | 5438.266 | 11516.586 | 11516.586 | [5 empty] | 0 | 21246.63 | 2781.8271 | 336.4543 | 6789.1518 | 11516.586 |  | 21246.63 | 2781.8271 | 336.4543 | 6964.4262 | 11516.586 |  | 0 | 0 | 0 | 1116.6612 | 0 |  | 0 | 0 | 0 | 0.1645 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 21246.63 | 2781.8271 | 336.4543 | 6789.1518 | 11516.586 | 33.6454 | 27.8183 | 27.1566 | 23.0332 | 21.2466
1687 | 477 | 240.1601 | albuterol | DTXSID5021255 | ESI+ | 239.1521 | 239.1529 | 3.1825 | 2.9 | 2.9234 | 0.023417 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1415(H2O); | 0.1484 | albuterol |  | 10 | 100 | 250 | 500 | 1000 | 56345.12 | 56345.12 | 5952.9014 | 5952.9014 | 671.4661 | 671.4661 | 15253.53 | 19438.846 | 20333.588 | 15547.885 | 31901.066 | 31901.066 | [5 empty] | 0 | 56345.12 | 5952.9014 | 671.4661 | 17643.4622 | 31901.066 |  | 56345.12 | 5952.9014 | 671.4661 | 17493.3655 | 31901.066 |  | 0 | 0 | 0 | 2618.1036 | 0 |  | 0 | 0 | 0 | 0.1484 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 56345.12 | 5952.9014 | 671.4661 | 17643.4622 | 31901.066 | 67.1466 | 59.529 | 70.5738 | 63.8021 | 56.3451
2791 | 3531 | 309.0912 | alprazolam | DTXSID4022577 | ESI+ | 308.0829 | 308.0839 | 3.2021 | 9.5 | 9.6543 | 0.1543 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3107(Na); | 0.1627 | alprazolam |  | 10 | 100 | 250 | 500 | 1000 | 83101.12 | 83101.12 | 12279.147 | 12279.147 | 1520.3339 | 1520.3339 | 25146.887 | 31425.074 | 35198.336 | 25818.785 | 51758.152 | 51758.152 | [5 empty] | 0 | 83101.12 | 12279.147 | 1520.3339 | 29397.2705 | 51758.152 |  | 83101.12 | 12279.147 | 1520.3339 | 28621.9295 | 51758.152 |  | 0 | 0 | 0 | 4783.1533 | 0 |  | 0 | 0 | 0 | 0.1627 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 83101.12 | 12279.147 | 1520.3339 | 29397.2705 | 51758.152 | 152.0334 | 122.7915 | 117.5891 | 103.5163 | 83.1011
2325 | 3336 | 278.1905 | amitriptyline | DTXSID7022594 | ESI+ | 277.183 | 277.1832 | 0.86044 | 9.3 | 9.3681 | 0.068138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.126 | amitriptyline |  | 10 | 100 | 250 | 500 | 1000 | 333468 | 333468 | 32555.186 | 32555.186 | 3273.2114 | 3273.2114 | 80512.484 | 90406.945 | 103025.12 | 78892.02 | 189750.84 | 189750.84 | [5 empty] | 0 | 333468 | 32555.186 | 3273.2114 | 88209.1422 | 189750.84 |  | 333468 | 32555.186 | 3273.2114 | 85459.7145 | 189750.84 |  | 0 | 0 | 0 | 11111.4183 | 0 |  | 0 | 0 | 0 | 0.126 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 333468 | 32555.186 | 3273.2114 | 88209.1422 | 189750.84 | 327.3211 | 325.5519 | 352.8366 | 379.5017 | 333.468
3815 | 3338 | 409.1526 | amlodipine | DTXSID7022596 | ESI+ | 408.1452 | 408.1453 | 0.30871 | 9.3 | 9.3861 | 0.086137 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 3714(NH4); | 0.2112 | amlodipine |  | 10 | 100 | 250 | 500 | 1000 | 5156.272 | 5156.272 |  |  |  |  | 1034.082 | 1492.748 | 1216.5203 | 929.4034 | 2798.316 | 2798.316 | [5 empty] | 0 | 5156.272 |  |  | 1168.1884 | 2798.316 |  | 5156.272 |  |  | 1125.3012 | 2798.316 |  | 0 |  |  | 246.7642 | 0 |  | 0 |  |  | 0.2112 | 0 | 0 | 2 | 0 | 0 | 4 | 2 | 0 | 100 | 0 | 0 | 100 | 100 | 5156.272 |  |  | 1168.1884 | 2798.316 |  |  | 4.6728 | 5.5966 | 5.1563
247 | 729 | 136.1127 | amphetamine | DTXSID4022600 | ESI+ | 135.1048 | 135.1054 | 4.7563 | 4.1 | 3.9614 | 0.1386 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1262 | amphetamine |  | 10 | 100 | 250 | 500 | 1000 | 26266.582 | 26266.582 | 3189.9888 | 3189.9888 | 411.3529 | 411.3529 | 7958.7656 | 9190.427 | 10742.871 | 8864.415 | 14511.205 | 14511.205 | [5 empty] | 0 | 26266.582 | 3189.9888 | 411.3529 | 9189.1196 | 14511.205 |  | 26266.582 | 3189.9888 | 411.3529 | 9027.421 | 14511.205 |  | 0 | 0 | 0 | 1159.5041 | 0 |  | 0 | 0 | 0 | 0.1262 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 26266.582 | 3189.9888 | 411.3529 | 9189.1196 | 14511.205 | 41.1353 | 31.8999 | 36.7565 | 29.0224 | 26.2666
2136 | 559 | 267.1712 | atenolol | DTXSID2022628 | ESI+ | 266.163 | 266.1639 | 3.3096 | 3.1 | 3.0646 | 0.03544 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1917 | atenolol |  | 10 | 100 | 250 | 500 | 1000 | 109779.16 | 109779.16 | 13363.116 | 13363.116 | 1512.1017 | 1512.1017 | 31711.145 | 41075.527 | 43647.676 | 33014.902 | 63754.234 | 63754.234 | [5 empty] | 0 | 109779.16 | 13363.116 | 1512.1017 | 37362.3125 | 63754.234 |  | 109779.16 | 13363.116 | 1512.1017 | 37045.2145 | 63754.234 |  | 0 | 0 | 0 | 5891.5032 | 0 |  | 0 | 0 | 0 | 0.1577 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 109779.16 | 13363.116 | 1512.1017 | 37362.3125 | 63754.234 | 151.2102 | 133.6312 | 149.4493 | 127.5085 | 109.7792
4522 | 4838 | 559.262 | atorvastatin | DTXSID8029868 | ESI+ | 558.253 | 558.2547 | 3.0434 | 12 | 12.0589 | 0.058884 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1107 | atorvastatin |  | 10 | 100 | 250 | 500 | 1000 | 6021.002 | 6021.002 | 483.4508 | 483.4508 |  |  | 627.6448 |  |  |  | 2872.133 | 2872.133 | [5 empty] | 0 | 6021.002 | 483.4508 |  | 627.6448 | 2872.133 |  | 6021.002 | 483.4508 |  | 627.6448 | 2872.133 |  | 0 | 0 |  |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 2 | 2 | 0 | 1 | 2 | 0 | 100 | 100 | 0 | 25 | 100 | 6021.002 | 483.4508 |  | 627.6448 | 2872.133 |  | 4.8345 | 2.5106 | 5.7443 | 6.021
2788 | 3355 | 308.2012 | benztropine | DTXSID9022659 | ESI+ | 307.1936 | 307.194 | 1.1852 | 9.4 | 9.2189 | 0.18107 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.0928 | benztropine |  | 10 | 100 | 250 | 500 | 1000 | 362898.25 | 362898.25 | 32156.467 | 32156.467 | 3152.2444 | 3152.2444 | 81980.695 | 101769.52 | 97797.77 | 91191.625 | 189526.86 | 189526.86 | [5 empty] | 0 | 362898.25 | 32156.467 | 3152.2444 | 93184.9025 | 189526.86 |  | 362898.25 | 32156.467 | 3152.2444 | 94494.6975 | 189526.86 |  | 0 | 0 | 0 | 8650.2722 | 0 |  | 0 | 0 | 0 | 0.0928 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 362898.25 | 32156.467 | 3152.2444 | 93184.9025 | 189526.86 | 315.2244 | 321.5647 | 372.7396 | 379.0537 | 362.8983
3724 | 3179 | 393.207 | betamethasone | DTXSID3022667 | ESI+ | 392.1999 | 392.1997 | 0.42478 | 9 | 9.0683 | 0.068293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1306 | betamethasone |  | 10 | 100 | 250 | 500 | 1000 | 9166.664 | 9166.664 |  |  |  |  | 2416.7056 | 3005.1536 | 3106.5938 | 2507.131 | 5005.3774 | 5005.3774 | [5 empty] | 0 | 9166.664 |  |  | 2758.896 | 5005.3774 |  | 9166.664 |  |  | 2756.1423 | 5005.3774 |  | 0 |  |  | 347.379 | 0 |  | 0 |  |  | 0.1259 | 0 | 0 | 2 | 0 | 0 | 4 | 2 | 0 | 100 | 0 | 0 | 100 | 100 | 9166.664 |  |  | 2758.896 | 5005.3774 |  |  | 11.0356 | 10.0108 | 9.1667
997 | 779 | 195.0884 | caffeine | DTXSID0020232 | ESI+ | 194.0804 | 194.0811 | 3.5547 | 4.2 | 4.1811 | 0.018883 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1627 | caffeine |  | 10 | 100 | 250 | 500 | 1000 | 30430.443 | 30430.443 | 2972.748 | 2972.748 |  |  | 7928.6807 | 10638.295 | 11669.844 | 9900.375 | 16076.573 | 16076.573 | [5 empty] | 0 | 30430.443 | 2972.748 |  | 10034.2987 | 16076.573 |  | 30430.443 | 2972.748 |  | 10269.335 | 16076.573 |  | 0 | 0 |  | 1580.2302 | 0 |  | 0 | 0 |  | 0.1575 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 30430.443 | 2972.748 |  | 10034.2987 | 16076.573 |  | 29.7275 | 40.1372 | 32.1531 | 30.4304
1621 | 2932 | 237.1031 | carbamazepine | DTXSID4022731 | ESI+ | 236.095 | 236.0958 | 3.3228 | 8.5 | 8.6213 | 0.12128 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2006(Na);2261(K);1383(NH4); | 0.1017 | carbamazepine |  | 10 | 100 | 250 | 500 | 1000 | 102998.945 | 102998.945 | 20033.877 | 20033.877 | 3167.1555 | 3167.1555 | 39845.445 | 39064.062 | 39592.3 | 34884.066 | 66187.305 | 66187.305 | [5 empty] | 0 | 102998.945 | 20033.877 | 3167.1555 | 38346.4682 | 66187.305 |  | 102998.945 | 20033.877 | 3167.1555 | 39328.181 | 66187.305 |  | 0 | 0 | 0 | 2331.1083 | 0 |  | 0 | 0 | 0 | 0.0608 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 102998.945 | 20033.877 | 3167.1555 | 38346.4682 | 66187.305 | 316.7156 | 200.3388 | 153.3859 | 132.3746 | 102.9989
1900 | 547 | 253.1238 | cimetidine | DTXSID4020329 | ESI+ | 252.1157 | 252.1166 | 3.4524 | 3.1 | 3.0316 | 0.068352 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.167 | cimetidine |  | 10 | 100 | 250 | 500 | 1000 | 53864.305 | 53864.305 | 7359.532 | 7359.532 | 966.5189 | 966.5189 | 16867.998 | 20970.955 | 21446.836 | 15105.909 | 33169.71 | 33169.71 | [5 empty] | 0 | 53864.305 | 7359.532 | 966.5189 | 18597.9245 | 33169.71 |  | 53864.305 | 7359.532 | 966.5189 | 18919.4765 | 33169.71 |  | 0 | 0 | 0 | 3105.6072 | 0 |  | 0 | 0 | 0 | 0.167 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 53864.305 | 7359.532 | 966.5189 | 18597.9245 | 33169.71 | 96.6519 | 73.5953 | 74.3917 | 66.3394 | 53.8643
1535 | 642 | 230.025 | clonidine | DTXSID6022846 | ESI+ | 229.0174 | 229.0177 | 1.2217 | 3.7 | 3.7094 | 0.009358 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1339 | clonidine |  | 10 | 100 | 250 | 500 | 1000 | 129757.42 | 129757.42 | 14125.505 | 14125.505 | 1682.9321 | 1682.9321 | 35933.453 | 45148.434 | 50087.43 | 44284.336 | 71430.83 | 71430.83 | [5 empty] | 0 | 129757.42 | 14125.505 | 1682.9321 | 43863.4133 | 71430.83 |  | 129757.42 | 14125.505 | 1682.9321 | 44716.385 | 71430.83 |  | 0 | 0 | 0 | 5872.2826 | 0 |  | 0 | 0 | 0 | 0.1339 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 129757.42 | 14125.505 | 1682.9321 | 43863.4133 | 71430.83 | 168.2932 | 141.2551 | 175.4537 | 142.8617 | 129.7574
2722 | 1511 | 304.156 | cocaine | DTXSID2038443 | ESI+ | 303.1471 | 303.1487 | 5.4343 | 5.97 | 6.2776 | 0.30759 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1511 | cocaine |  | 10 | 100 | 250 | 500 | 1000 | 296089 | 296089 | 30048.494 | 30048.494 | 3624.6973 | 3624.6973 | 76319.98 | 101053.63 | 110355.6 | 93668.766 | 156431.03 | 156431.03 | [5 empty] | 0 | 296089 | 30048.494 | 3624.6973 | 95349.494 | 156431.03 |  | 296089 | 30048.494 | 3624.6973 | 97361.198 | 156431.03 |  | 0 | 0 | 0 | 14406.7997 | 0 |  | 0 | 0 | 0 | 0.1511 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 296089 | 30048.494 | 3624.6973 | 95349.494 | 156431.03 | 362.4697 | 300.4849 | 381.398 | 312.8621 | 296.089
2532 | 3660 | 292.0655 | desmethylsertraline | DTXSID60236666 | ESI+ | 291.0582 | 291.0582 | 0.095857 | 9.5 | 9.881 | 0.38103 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1727 | desmethylsertraline |  | 10 | 100 | 250 | 500 | 1000 | 3259.4546 | 3259.4546 | [5 empty] | 718.12 | 837.4587 | 590.3968 | 1565.0505 | 1565.0505 | [5 empty] | 0 | 3259.4546 |  |  | 715.3252 | 1565.0505 |  | 3259.4546 |  |  | 718.12 | 1565.0505 |  | 0 |  |  | 123.5547 | 0 |  | 0 |  |  | 0.1727 | 0 | 0 | 2 | 0 | 0 | 3 | 2 | 0 | 100 | 0 | 0 | 75 | 100 | 3259.4546 |  |  | 715.3252 | 1565.0505 |  |  | 2.8613 | 3.1301 | 3.2595
3863 | 2776 | 415.1678 | diltiazem | DTXSID9022940 | ESI+ | 414.1613 | 414.1605 | 1.8995 | 8.4 | 8.3413 | 0.058679 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1373 | diltiazem |  | 10 | 100 | 250 | 500 | 1000 | 202429.64 | 202429.64 | 21195.281 | 21195.281 | 2486.0007 | 2486.0007 | 48746.137 | 60313.55 | 67377.984 | 54787.47 | 115306.336 | 115306.336 | [5 empty] | 0 | 202429.64 | 21195.281 | 2486.0007 | 57806.2852 | 115306.336 |  | 202429.64 | 21195.281 | 2486.0007 | 57550.51 | 115306.336 |  | 0 | 0 | 0 | 7939.4233 | 0 |  | 0 | 0 | 0 | 0.1373 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 202429.64 | 21195.281 | 2486.0007 | 57806.2852 | 115306.336 | 248.6001 | 211.9528 | 231.2251 | 230.6127 | 202.4296
3600 | 2335 | 377.2075 | enalapril | DTXSID5022982 | ESI+ | 376.1998 | 376.2002 | 1.1356 | 7.6 | 7.553 | 0.047045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.3693 | enalapril |  | 10 | 100 | 250 | 500 | 1000 | 161134.47 | 161134.47 | 15169.228 | 15169.228 | 1286.7079 | 1286.7079 | 39026.945 | 57230.562 | 63997.297 | 26207.734 | 81980.805 | 81980.805 | [5 empty] | 0 | 161134.47 | 15169.228 | 1286.7079 | 46615.6345 | 81980.805 |  | 161134.47 | 15169.228 | 1286.7079 | 48128.7535 | 81980.805 |  | 0 | 0 | 0 | 17213.0715 | 0 |  | 0 | 0 | 0 | 0.3693 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 161134.47 | 15169.228 | 1286.7079 | 46615.6345 | 81980.805 | 128.6708 | 151.6923 | 186.4625 | 163.9616 | 161.1345
3190 | 2204 | 337.2273 | fentanyl | DTXSID9023049 | ESI+ | 336.2202 | 336.22 | 0.60912 | 7.35 | 7.5458 | 0.19581 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1354 | fentanyl |  | 10 | 100 | 250 | 500 | 1000 | 295070.8 | 295070.8 | 31620.34 | 31620.34 | 3777.2437 | 3777.2437 | 77641.65 | 97435.47 | 105674.85 | 85723.14 | 157543.22 | 157543.22 | [5 empty] | 0 | 295070.8 | 31620.34 | 3777.2437 | 91618.7775 | 157543.22 |  | 295070.8 | 31620.34 | 3777.2437 | 91579.305 | 157543.22 |  | 0 | 0 | 0 | 12403.3023 | 0 |  | 0 | 0 | 0 | 0.1354 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 295070.8 | 31620.34 | 3777.2437 | 91618.7775 | 157543.22 | 377.7244 | 316.2034 | 366.4751 | 315.0864 | 295.0708
4297 | 4512 | 495.2207 | fluocinonide | DTXSID8045307 | ESI+ | 494.2116 | 494.2134 | 3.6322 | 11.4 | 11.4872 | 0.08725 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4425(K); | 0.1376 | fluocinonide |  | 10 | 100 | 250 | 500 | 1000 | 48310.195 | 48310.195 | 6363.3154 | 6363.3154 |  |  | 10730.385 | 13170.937 | 12661.067 | 9789.066 | 28951.414 | 28951.414 | [5 empty] | 0 | 48310.195 | 6363.3154 |  | 11587.8637 | 28951.414 |  | 48310.195 | 6363.3154 |  | 11695.726 | 28951.414 |  | 0 | 0 |  | 1594.6608 | 0 |  | 0 | 0 |  | 0.1376 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 48310.195 | 6363.3154 |  | 11587.8637 | 28951.414 |  | 63.6332 | 46.3515 | 57.9028 | 48.3102
4318 | 5063 | 501.1927 | fluticasone propionate | DTXSID8045511 | ESI+ | 500.1844 | 500.1855 | 2.1268 | 12.5 | 12.618 | 0.11795 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4395(Na); | 0.1429 | fluticasone propionate |  | 10 | 100 | 250 | 500 | 1000 | 6039.093 | 6039.093 | 688.8459 | 688.8459 |  |  | 1186.3916 | 1312.1168 | 1266.2219 | 935.6476 | 3678.383 | 3678.383 | [5 empty] | 0 | 6039.093 | 688.8459 |  | 1175.0945 | 3678.383 |  | 6039.093 | 688.8459 |  | 1226.3068 | 3678.383 |  | 0 | 0 |  | 167.8707 | 0 |  | 0 | 0 |  | 0.1429 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 6039.093 | 688.8459 |  | 1175.0945 | 3678.383 |  | 6.8885 | 4.7004 | 7.3568 | 6.0391
669 | 695 | 172.1336 | gabapentin | DTXSID0020074 | ESI+ | 171.1259 | 171.1263 | 2.5776 | 3.73 | 3.8703 | 0.14027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1076 | gabapentin |  | 10 | 100 | 250 | 500 | 1000 | 93761.69 | 93761.69 | 10265.205 | 10265.205 | 1230.0933 | 1230.0933 | 28826.262 | 32313.883 | 35499.35 | 28749.357 | 52214.02 | 52214.02 | [5 empty] | 0 | 93761.69 | 10265.205 | 1230.0933 | 31347.213 | 52214.02 |  | 93761.69 | 10265.205 | 1230.0933 | 30570.0725 | 52214.02 |  | 0 | 0 | 0 | 3228.97 | 0 |  | 0 | 0 | 0 | 0.103 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 93761.69 | 10265.205 | 1230.0933 | 31347.213 | 52214.02 | 123.0093 | 102.6521 | 125.3889 | 104.428 | 93.7617
3528 | 1363 | 370.1663 | heroin | DTXSID6046761 | ESI+ | 369.1576 | 369.1591 | 3.9883 | 5.79 | 6.0222 | 0.23223 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3715(Na); | 0.2201 | heroin |  | 10 | 100 | 250 | 500 | 1000 | 171888 | 171888 | 16694.625 | 16694.625 | 2148.2559 | 2148.2559 | 41266.21 | 63339.12 | 72247.586 | 60108.316 | 81963.15 | 81963.15 | [5 empty] | 0 | 171888 | 16694.625 | 2148.2559 | 59240.308 | 81963.15 |  | 171888 | 16694.625 | 2148.2559 | 61723.718 | 81963.15 |  | 0 | 0 | 0 | 13035.9909 | 0 |  | 0 | 0 | 0 | 0.2201 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 171888 | 16694.625 | 2148.2559 | 59240.308 | 81963.15 | 214.8256 | 166.9462 | 236.9612 | 163.9263 | 171.888
2660 | 819 | 300.1603 | hydrocodone | DTXSID8023131 | ESI+ | 299.1521 | 299.153 | 3.0767 | 4.3 | 4.2879 | 0.012087 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.2161 | hydrocodone |  | 10 | 100 | 250 | 500 | 1000 | 65902.24 | 65902.24 | 7317.8027 | 7317.8027 |  |  | 18637.027 | 27574.557 | 30183.615 | 21662.73 | 37032.883 | 37032.883 | [5 empty] | 0 | 65902.24 | 7317.8027 |  | 24514.4822 | 37032.883 |  | 65902.24 | 7317.8027 |  | 24618.6435 | 37032.883 |  | 0 | 0 |  | 5297.172 | 0 |  | 0 | 0 |  | 0.2161 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 65902.24 | 7317.8027 |  | 24514.4822 | 37032.883 |  | 73.178 | 98.0579 | 74.0658 | 65.9022
3469 | 2628 | 363.2177 | hydrocortisone | DTXSID7020714 | ESI+ | 362.2093 | 362.2104 | 2.9803 | 8.1 | 8.3249 | 0.2249 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.2309 | hydrocortisone |  | 10 | 100 | 250 | 500 | 1000 | 29874.02 | 29874.02 |  |  | 386.5891 | 386.5891 | 7412.3345 | 11717.813 | 12977.092 | 9836.181 | 15928.389 | 15928.389 | [5 empty] | 0 | 29874.02 |  | 386.5891 | 10485.8551 | 15928.389 |  | 29874.02 |  | 386.5891 | 10776.997 | 15928.389 |  | 0 |  | 0 | 2421.6101 | 0 |  | 0 |  | 0 | 0.2309 | 0 | 0 | 2 | 0 | 2 | 4 | 2 | 0 | 100 | 0 | 100 | 100 | 100 | 29874.02 |  | 386.5891 | 10485.8551 | 15928.389 | 38.6589 |  | 41.9434 | 31.8568 | 29.874
983 | 870 | 194.1181 | mdma | DTXSID90860791 | ESI+ | 193.1103 | 193.1108 | 2.6177 | 4.33 | 4.4899 | 0.15987 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1057 | mdma |  | 10 | 100 | 250 | 500 | 1000 | 99623.1 | 99623.1 | 11687.89 | 11687.89 |  |  | 29080.748 | 33955.164 | 37409.785 | 31960.758 | 55218.062 | 55218.062 | [5 empty] | 0 | 99623.1 | 11687.89 |  | 33101.6138 | 55218.062 |  | 99623.1 | 11687.89 |  | 32957.961 | 55218.062 |  | 0 | 0 |  | 3500.3714 | 0 |  | 0 | 0 |  | 0.1057 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 99623.1 | 11687.89 |  | 33101.6138 | 55218.062 |  | 116.8789 | 132.4065 | 110.4361 | 99.6231
200 | 348 | 130.109 | metformin | DTXSID2023270 | ESI+ | 129.1014 | 129.1018 | 2.756 | 0.81 | 0.82698 | 0.01698 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 112(NH4); | 0.1402 | metformin |  | 10 | 100 | 250 | 500 | 1000 | 19737.432 | 19737.432 | 4312.906 | 4312.906 | 527.7368 | 527.7368 | 9587.222 | 9643.257 | 9847.618 | 7161.507 | 13878.972 | 13878.972 | [5 empty] | 0 | 19737.432 | 4312.906 | 527.7368 | 9059.901 | 13878.972 |  | 19737.432 | 4312.906 | 527.7368 | 9615.2395 | 13878.972 |  | 0 | 0 | 0 | 1270.5339 | 0 |  | 0 | 0 | 0 | 0.1402 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 19737.432 | 4312.906 | 527.7368 | 9059.901 | 13878.972 | 52.7737 | 43.1291 | 36.2396 | 27.7579 | 19.7374
373 | 838 | 150.1285 | methamphetamine | DTXSID8037128 | ESI+ | 149.1204 | 149.1212 | 5.5814 | 4.2 | 4.5518 | 0.35184 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.0857 | methamphetamine |  | 10 | 100 | 250 | 500 | 1000 | 103014.91 | 103014.91 | 12410.169 | 12410.169 | 1430.3871 | 1430.3871 | 30099.307 | 35817.957 | 36508.676 | 35117.78 | 58332.496 | 58332.496 | [5 empty] | 0 | 103014.91 | 12410.169 | 1430.3871 | 34385.93 | 58332.496 |  | 103014.91 | 12410.169 | 1430.3871 | 35467.8685 | 58332.496 |  | 0 | 0 | 0 | 2913.6171 | 0 |  | 0 | 0 | 0 | 0.0847 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 103014.91 | 12410.169 | 1430.3871 | 34385.93 | 58332.496 | 143.0387 | 124.1017 | 137.5437 | 116.665 | 103.0149
3580 | 3153 | 375.2176 | methylprednisolone | DTXSID7023300 | ESI+ | 374.2093 | 374.2104 | 2.8078 | 9 | 9.2346 | 0.23456 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3405(H2O); | 0.1378 | methylprednisolone |  | 10 | 100 | 250 | 500 | 1000 | 14081.781 | 14081.781 | 1341.8062 | 1341.8062 |  |  | 3359.9358 | 4233.1226 | 4661.735 | 3846.6763 | 7429.1694 | 7429.1694 | [5 empty] | 0 | 14081.781 | 1341.8062 |  | 4025.3674 | 7429.1694 |  | 14081.781 | 1341.8062 |  | 4039.8994 | 7429.1694 |  | 0 | 0 |  | 554.6337 | 0 |  | 0 | 0 |  | 0.1378 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 14081.781 | 1341.8062 |  | 4025.3674 | 7429.1694 |  | 13.4181 | 16.1015 | 14.8583 | 14.0818
2155 | 1271 | 268.1913 | metoprolol | DTXSID2023309 | ESI+ | 267.1834 | 267.184 | 2.2266 | 5.7 | 5.8092 | 0.10922 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1837 | metoprolol |  | 10 | 100 | 250 | 500 | 1000 | 188701.58 | 188701.58 | 20015.139 | 20015.139 | 2544.5059 | 2544.5059 | 47988.938 | 60952.535 | 61950.836 | 52081.61 | 102844.43 | 102844.43 | [5 empty] | 0 | 188701.58 | 20015.139 | 2544.5059 | 55743.4798 | 102844.43 |  | 188701.58 | 20015.139 | 2544.5059 | 56517.0725 | 102844.43 |  | 0 | 0 | 0 | 6811.9438 | 0 |  | 0 | 0 | 0 | 0.1222 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 188701.58 | 20015.139 | 2544.5059 | 55743.4798 | 102844.43 | 254.4506 | 200.1514 | 222.9739 | 205.6889 | 188.7016
3778 | 2718 | 401.1527 | n-desmethyldiltiazem | DTXSID60873797 | ESI+ | 400.1457 | 400.1455 | 0.60978 | 8.3 | 8.3288 | 0.028838 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3400(CO2); | 0.2064 | n-desmethyldiltiazem |  | 10 | 100 | 250 | 500 | 1000 | 144088.28 | 144088.28 | 14200.111 | 14200.111 | 1855.3389 | 1855.3389 | 31041.857 | 47189.793 | 48898.86 | 37063.508 | 68274.68 | 68274.68 | [5 empty] | 0 | 144088.28 | 14200.111 | 1855.3389 | 41048.5045 | 68274.68 |  | 144088.28 | 14200.111 | 1855.3389 | 42126.6505 | 68274.68 |  | 0 | 0 | 0 | 8472.6363 | 0 |  | 0 | 0 | 0 | 0.2064 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 144088.28 | 14200.111 | 1855.3389 | 41048.5045 | 68274.68 | 185.5339 | 142.0011 | 164.194 | 136.5494 | 144.0883
2653 | 3889 | 299.2015 | norethindrone | DTXSID9023380 | ESI+ | 298.1933 | 298.1942 | 3.1221 | 10.2 | 10.5065 | 0.30648 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.2679 | norethindrone |  | 10 | 100 | 250 | 500 | 1000 | 59099.695 | 59099.695 | 6002.408 | 6002.408 |  |  | 13712.113 | 18082.178 | 18617.441 | 15988.772 | 31864.697 | 31864.697 | [5 empty] | 0 | 59099.695 | 6002.408 |  | 16600.126 | 31864.697 |  | 59099.695 | 6002.408 |  | 17035.475 | 31864.697 |  | 0 | 0 |  | 2234.6074 | 0 |  | 0 | 0 |  | 0.1346 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 59099.695 | 6002.408 |  | 16600.126 | 31864.697 |  | 60.0241 | 66.4005 | 63.7294 | 59.0997
2599 | 3443 | 296.127 | norfluoxetine | DTXSID80866540 | ESI+ | 295.1184 | 295.1197 | 4.4125 | 9.5 | 9.6982 | 0.19819 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1203 | norfluoxetine |  | 10 | 100 | 250 | 500 | 1000 | 19715.828 | 19715.828 | 1877.726 | 1877.726 |  |  | 4427.0127 | 5779.609 | 5616.2686 | 4948.1514 | 9419.765 | 9419.765 | [5 empty] | 0 | 19715.828 | 1877.726 |  | 5192.7604 | 9419.765 |  | 19715.828 | 1877.726 |  | 5282.21 | 9419.765 |  | 0 | 0 |  | 624.4874 | 0 |  | 0 | 0 |  | 0.1203 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 19715.828 | 1877.726 |  | 5192.7604 | 9419.765 |  | 18.7773 | 20.771 | 18.8395 | 19.7158
4044 | 3074 | 441.2756 | norverapamil | DTXSID80873799 | ESI+ | 440.2675 | 440.2683 | 1.7746 | 8.9 | 9.027 | 0.12702 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4169(Na); | 0.1227 | norverapamil |  | 10 | 100 | 250 | 500 | 1000 | 222006.7 | 222006.7 | 20120.73 | 20120.73 | 2024.6737 | 2024.6737 | 47920.24 | 61369.49 | 61749.78 | 52290.676 | 112575.21 | 112575.21 | [5 empty] | 0 | 222006.7 | 20120.73 | 2024.6737 | 55832.5465 | 112575.21 |  | 222006.7 | 20120.73 | 2024.6737 | 56830.083 | 112575.21 |  | 0 | 0 | 0 | 6851.2976 | 0 |  | 0 | 0 | 0 | 0.1227 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 222006.7 | 20120.73 | 2024.6737 | 55832.5465 | 112575.21 | 202.4674 | 201.2073 | 223.3302 | 225.1504 | 222.0067
2907 | 751 | 316.155 | oxycodone | DTXSID5023407 | ESI+ | 315.1471 | 315.1477 | 1.9407 | 4.1 | 4.0987 | 0.001252 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 3373(K);2629(H2O);3146(H2O); | 0.1409 | oxycodone |  | 10 | 100 | 250 | 500 | 1000 | 69576.87 | 69576.87 | 8489.958 | 8489.958 | 911.1459 | 911.1459 | 21406.828 | 26173.668 | 28381.291 | 21654.588 | 39002.496 | 39002.496 | [5 empty] | 0 | 69576.87 | 8489.958 | 911.1459 | 24404.0938 | 39002.496 |  | 69576.87 | 8489.958 | 911.1459 | 23914.128 | 39002.496 |  | 0 | 0 | 0 | 3439.616 | 0 |  | 0 | 0 | 0 | 0.1409 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 69576.87 | 8489.958 | 911.1459 | 24404.0938 | 39002.496 | 91.1146 | 84.8996 | 97.6164 | 78.005 | 69.5769
3097 | 3017 | 330.1515 | paroxetine | DTXSID3023425 | ESI+ | 329.1427 | 329.1442 | 4.584 | 8.8 | 8.7972 | 0.002772 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.176 | paroxetine |  | 10 | 100 | 250 | 500 | 1000 | 214024.62 | 214024.62 | 18981.9 | 18981.9 |  |  | 45756.223 | 61407.414 | 64843.285 | 47475.625 | 102795.9 | 102795.9 | [5 empty] | 0 | 214024.62 | 18981.9 |  | 54870.6368 | 102795.9 |  | 214024.62 | 18981.9 |  | 54441.5195 | 102795.9 |  | 0 | 0 |  | 9659.9156 | 0 |  | 0 | 0 |  | 0.176 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 214024.62 | 18981.9 |  | 54870.6368 | 102795.9 |  | 189.819 | 219.4825 | 205.5918 | 214.0246
3447 | 2586 | 361.2017 | prednisolone | DTXSID9021184 | ESI+ | 360.1937 | 360.1944 | 1.9378 | 8 | 8.2892 | 0.28917 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3264(H2O); | 0.138 | prednisolone |  | 10 | 100 | 250 | 500 | 1000 | 14914.347 | 14914.347 |  |  | 168.1374 | 168.1374 | 3444.3298 | 4418.68 | 4633.9326 | 3737.8247 | 7296.8916 | 7296.8916 | [5 empty] | 0 | 14914.347 |  | 168.1374 | 4058.6918 | 7296.8916 |  | 14914.347 |  | 168.1374 | 4078.2524 | 7296.8916 |  | 0 |  | 0 | 560.0267 | 0 |  | 0 |  | 0 | 0.138 | 0 | 0 | 2 | 0 | 2 | 4 | 2 | 0 | 100 | 0 | 100 | 100 | 100 | 14914.347 |  | 168.1374 | 4058.6918 | 7296.8916 | 16.8137 |  | 16.2348 | 14.5938 | 14.9143
3420 | 2496 | 359.1856 | prednisone | DTXSID4021185 | ESI+ | 358.178 | 358.1784 | 0.97996 | 7.9 | 8.14 | 0.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1704 | prednisone |  | 10 | 100 | 250 | 500 | 1000 | 28918.072 | 28918.072 | 2772.9912 | 2772.9912 |  |  | 6955.2505 | 9282.844 | 9608.147 | 7099.456 | 14900.427 | 14900.427 | [5 empty] | 0 | 28918.072 | 2772.9912 |  | 8236.4244 | 14900.427 |  | 28918.072 | 2772.9912 |  | 8191.15 | 14900.427 |  | 0 | 0 |  | 1403.6524 | 0 |  | 0 | 0 |  | 0.1704 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 28918.072 | 2772.9912 |  | 8236.4244 | 14900.427 |  | 27.7299 | 32.9457 | 29.8009 | 28.9181
2901 | 5118 | 315.2327 | progesterone | DTXSID3022370 | ESI+ | 314.2246 | 314.2254 | 2.5326 | 12.5 | 12.6231 | 0.12314 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1725 | progesterone |  | 10 | 100 | 250 | 500 | 1000 | 49351.027 | 49351.027 | 4804.366 | 4804.366 |  |  | 8849.919 | 11700.714 | 12000.356 | 8705.182 | 28620.848 | 28620.848 | [5 empty] | 0 | 49351.027 | 4804.366 |  | 10314.0428 | 28620.848 |  | 49351.027 | 4804.366 |  | 10275.3165 | 28620.848 |  | 0 | 0 |  | 1779.382 | 0 |  | 0 | 0 |  | 0.1725 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 49351.027 | 4804.366 |  | 10314.0428 | 28620.848 |  | 48.0437 | 41.2562 | 57.2417 | 49.351
2448 | 2900 | 285.1434 | promethazine | DTXSID7023518 | ESI+ | 284.1347 | 284.1361 | 5.0043 | 8.6 | 8.6187 | 0.018731 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.2006 | promethazine |  | 10 | 100 | 250 | 500 | 1000 | 213627.64 | 213627.64 | 21988.664 | 21988.664 | 2454.1104 | 2454.1104 | 60091.543 | 47136.14 | 46512.453 | 42505.094 | 114342.85 | 114342.85 | [5 empty] | 0 | 213627.64 | 21988.664 | 2454.1104 | 49061.3075 | 114342.85 |  | 213627.64 | 21988.664 | 2454.1104 | 46824.2965 | 114342.85 |  | 0 | 0 | 0 | 7634.4168 | 0 |  | 0 | 0 | 0 | 0.1556 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 213627.64 | 21988.664 | 2454.1104 | 49061.3075 | 114342.85 | 245.411 | 219.8866 | 196.2452 | 228.6857 | 213.6276
2035 | 2242 | 260.1653 | propanolol | DTXSID6023525 | ESI+ | 259.1572 | 259.158 | 3.0167 | 7.6 | 7.5787 | 0.02134 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1724(H2O); | 0.1757 | propanolol |  | 10 | 100 | 250 | 500 | 1000 | 256492.36 | 256492.36 | 31323.406 | 31323.406 | 4077.194 | 4077.194 | 73003.47 | 93557.77 | 101446.3 | 82457.68 | 142787.83 | 142787.83 | [5 empty] | 0 | 256492.36 | 31323.406 | 4077.194 | 87616.305 | 142787.83 |  | 256492.36 | 31323.406 | 4077.194 | 88007.725 | 142787.83 |  | 0 | 0 | 0 | 12472.8522 | 0 |  | 0 | 0 | 0 | 0.1424 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 256492.36 | 31323.406 | 4077.194 | 87616.305 | 142787.83 | 407.7194 | 313.2341 | 350.4652 | 285.5757 | 256.4924
3233 | 3267 | 340.2276 | propoxyphene | DTXSID1023524 | ESI+ | 339.2198 | 339.2203 | 1.5064 | 9.2 | 9.193 | 0.006998 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1175 | propoxyphene |  | 10 | 100 | 250 | 500 | 1000 | 27077.643 | 27077.643 | 2437.6216 | 2437.6216 |  |  | 6768.0596 | 8069.1924 | 8501.521 | 6798.412 | 14624.185 | 14624.185 | [5 empty] | 0 | 27077.643 | 2437.6216 |  | 7534.2962 | 14624.185 |  | 27077.643 | 2437.6216 |  | 7433.8022 | 14624.185 |  | 0 | 0 |  | 885.1143 | 0 |  | 0 | 0 |  | 0.1175 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 27077.643 | 2437.6216 |  | 7534.2962 | 14624.185 |  | 24.3762 | 30.1372 | 29.2484 | 27.0776
2888 | 588 | 315.1495 | ranitidine | DTXSID8045191 | ESI+ | 314.1413 | 314.1422 | 2.8401 | 3.2 | 3.1513 | 0.048675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1581 | ranitidine |  | 10 | 100 | 250 | 500 | 1000 | 47849.51 | 47849.51 | 5916.73 | 5916.73 | 596.0774 | 596.0774 | 13580.431 | 17646.021 | 19484.508 | 15222.1455 | 28991.062 | 28991.062 | [5 empty] | 0 | 47849.51 | 5916.73 | 596.0774 | 16483.2764 | 28991.062 |  | 47849.51 | 5916.73 | 596.0774 | 16434.0832 | 28991.062 |  | 0 | 0 | 0 | 2606.1676 | 0 |  | 0 | 0 | 0 | 0.1581 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 47849.51 | 5916.73 | 596.0774 | 16483.2764 | 28991.062 | 59.6077 | 59.1673 | 65.9331 | 57.9821 | 47.8495
2755 | 3705 | 306.0809 | sertraline | DTXSID6023577 | ESI+ | 305.0738 | 305.0736 | 0.66541 | 9.9 | 9.9564 | 0.056414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1544 | sertraline |  | 10 | 100 | 250 | 500 | 1000 | 36684.77 | 36684.77 | 2392.9192 | 2392.9192 |  |  | 6862.7256 | 8294.856 | 8540.82 | 6135.468 | 18243.455 | 18243.455 | [5 empty] | 0 | 36684.77 | 2392.9192 |  | 7458.4674 | 18243.455 |  | 36684.77 | 2392.9192 |  | 7578.7908 | 18243.455 |  | 0 | 0 |  | 1151.2701 | 0 |  | 0 | 0 |  | 0.1544 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 36684.77 | 2392.9192 |  | 7458.4674 | 18243.455 |  | 23.9292 | 29.8339 | 36.4869 | 36.6848
3898 | 6086 | 419.2775 | simvastatin | DTXSID0023581 | ESI+ | 418.2719 | 418.2702 | 4.1217 | 15.3 | 15.2727 | 0.027318 | 893.0339 | 406.2105 | 545.3029 | 893.0339 | 0 | 0 | 0 |  | 0.352 | simvastatin |  | 10 | 100 | 250 | 500 | 1000 | 1428.0493 | 1428.0493 | [8 empty] | 863.4464 | 863.4464 | 127.3702 | 149.6181 | 268.9337 |  | 244.3658 | 197.5719 | 1428.0493 |  |  |  | 863.4464 | 196.9919 | 1428.0493 |  |  |  | 863.4464 | 69.5462 | 0 |  |  |  | 0 | 0.352 | 0 |  |  |  | 0 | 4 | 2 | 0 | 0 | 0 | 2 | 80 | 100 | 0 | 0 | 0 | 100 | 1230.4774 |  |  |  | 665.8745 |  |  |  | 1.3317 | 1.2305
1916 | 1443 | 254.06 | sulfamethoxazole | DTXSID8026064 | ESI+ | 253.0521 | 253.0528 | 2.6299 | 6 | 6.1106 | 0.11058 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2280(Na);2530(K); | 0.1619 | sulfamethoxazole |  | 10 | 100 | 250 | 500 | 1000 | 51310.883 | 51310.883 | 4880.5566 | 4880.5566 |  |  | 12525.303 | 16432.566 | 17724.111 | 13508.789 | 26355.754 | 26355.754 | [5 empty] | 0 | 51310.883 | 4880.5566 |  | 15047.6922 | 26355.754 |  | 51310.883 | 4880.5566 |  | 14970.6775 | 26355.754 |  | 0 | 0 |  | 2436.6482 | 0 |  | 0 | 0 |  | 0.1619 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 51310.883 | 4880.5566 |  | 15047.6922 | 26355.754 |  | 48.8056 | 60.1908 | 52.7115 | 51.3109
793 | 612 | 181.0725 | theophylline | DTXSID5021336 | ESI+ | 180.0647 | 180.0652 | 2.9501 | 3.3 | 3.3549 | 0.054863 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1137(Na); | 0.1405 | theophylline |  | 10 | 100 | 250 | 500 | 1000 | 28280.389 | 28280.389 | 2474.8413 | 2474.8413 |  |  | 7254.7954 | 9048.457 | 10072.268 | 9810.3125 | 14271.8955 | 14271.8955 | [5 empty] | 0 | 28280.389 | 2474.8413 |  | 9046.4582 | 14271.8955 |  | 28280.389 | 2474.8413 |  | 9429.3848 | 14271.8955 |  | 0 | 0 |  | 1270.9339 | 0 |  | 0 | 0 |  | 0.1405 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 28280.389 | 2474.8413 |  | 9046.4582 | 14271.8955 |  | 24.7484 | 36.1858 | 28.5438 | 28.2804
2092 | 1135 | 264.1964 | tramadol | DTXSID90858931 | ESI+ | 263.1885 | 263.1891 | 2.2775 | 5.54 | 5.5771 | 0.037109 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.312 | tramadol |  | 10 | 100 | 250 | 500 | 1000 | 101866.91 | 101866.91 | 14317.53 | 14317.53 | 1888.2014 | 1888.2014 | 31282.145 | 39179.45 | 43642.004 | 36876.684 | 55945.52 | 55945.52 | [5 empty] | 0 | 101866.91 | 14317.53 | 1888.2014 | 37745.0708 | 55945.52 |  | 101866.91 | 14317.53 | 1888.2014 | 38028.067 | 55945.52 |  | 0 | 0 | 0 | 5143.1109 | 0 |  | 0 | 0 | 0 | 0.1363 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 101866.91 | 14317.53 | 1888.2014 | 37745.0708 | 55945.52 | 188.8201 | 143.1753 | 150.9803 | 111.891 | 101.8669
1918 | 948 | 254.1152 | triamterene | DTXSID6021373 | ESI+ | 253.1076 | 253.1079 | 1.22 | 4.8 | 4.829 | 0.028965 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1377 | triamterene |  | 10 | 100 | 250 | 500 | 1000 | 97346.54 | 97346.54 | 15959.238 | 15959.238 | 1723.5276 | 1723.5276 | 34262.88 | 37604.03 | 41276.62 | 30354.871 | 57328.707 | 57328.707 | [5 empty] | 0 | 97346.54 | 15959.238 | 1723.5276 | 35874.6003 | 57328.707 |  | 97346.54 | 15959.238 | 1723.5276 | 35933.455 | 57328.707 |  | 0 | 0 | 0 | 4663.2534 | 0 |  | 0 | 0 | 0 | 0.13 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 97346.54 | 15959.238 | 1723.5276 | 35874.6003 | 57328.707 | 172.3528 | 159.5924 | 143.4984 | 114.6574 | 97.3465
2517 | 885 | 291.1454 | trimethoprim | DTXSID3023712 | ESI+ | 290.1379 | 290.1382 | 0.90061 | 4.6 | 4.5941 | 0.0058533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1733 | trimethoprim |  | 10 | 100 | 250 | 500 | 1000 | 141976.97 | 141976.97 | 20289.744 | 20289.744 | 2595.9224 | 2595.9224 | 47190.086 | 50120.3 | 56333.055 | 43613.863 | 81999.49 | 81999.49 | [5 empty] | 0 | 141976.97 | 20289.744 | 2595.9224 | 49314.326 | 81999.49 |  | 141976.97 | 20289.744 | 2595.9224 | 48655.193 | 81999.49 |  | 0 | 0 | 0 | 5382.6829 | 0 |  | 0 | 0 | 0 | 0.1092 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 141976.97 | 20289.744 | 2595.9224 | 49314.326 | 81999.49 | 259.5922 | 202.8974 | 197.2573 | 163.999 | 141.977
4004 | 4291 | 436.2331 | valsartan | DTXSID6023735 | ESI+ | 435.227 | 435.2258 | 2.702 | 11 | 11.1193 | 0.11929 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4140(Na);4218(K); | 0.1939 | valsartan |  | 10 | 100 | 250 | 500 | 1000 | 16406.059 | 16406.059 | 1796.5337 | 1796.5337 | 228.75 | 228.75 | 3129.132 | 3784.0503 | 3769.101 | 2444.4204 | 9261.236 | 9261.236 | [5 empty] | 0 | 16406.059 | 1796.5337 | 228.75 | 3281.6759 | 9261.236 |  | 16406.059 | 1796.5337 | 228.75 | 3449.1165 | 9261.236 |  | 0 | 0 | 0 | 636.1943 | 0 |  | 0 | 0 | 0 | 0.1939 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 16406.059 | 1796.5337 | 228.75 | 3281.6759 | 9261.236 | 22.875 | 17.9653 | 13.1267 | 18.5225 | 16.4061
4119 | 3207 | 455.2876 | verapamil | DTXSID9041152 | ESI+ | 454.2832 | 454.2803 | 6.3958 | 9 | 9.0744 | 0.074367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1497 | verapamil |  | 10 | 100 | 250 | 500 | 1000 | 224736.94 | 224736.94 | 19887.527 | 19887.527 | 2227.6477 | 2227.6477 | 46252.61 | 62026.516 | 65573.664 | 54682.426 | 112451.805 | 112451.805 | [5 empty] | 0 | 224736.94 | 19887.527 | 2227.6477 | 57133.804 | 112451.805 |  | 224736.94 | 19887.527 | 2227.6477 | 58354.471 | 112451.805 |  | 0 | 0 | 0 | 8555.3006 | 0 |  | 0 | 0 | 0 | 0.1497 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 224736.94 | 19887.527 | 2227.6477 | 57133.804 | 112451.805 | 222.7648 | 198.8753 | 228.5352 | 224.9036 | 224.7369
2794 | 4172 | 309.1123 | warfarin | DTXSID5023742 | ESI+ | 308.1049 | 308.1051 | 0.49139 | 10.8 | 11.0065 | 0.20646 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1764 | warfarin |  | 10 | 100 | 250 | 500 | 1000 | 76028.7 | 76028.7 | 10264.838 | 10264.838 | 1333.2504 | 1333.2504 | 20948.695 | 22078.963 | 20908.361 | 14482.332 | 45953.406 | 45953.406 | [5 empty] | 0 | 76028.7 | 10264.838 | 1333.2504 | 19604.5878 | 45953.406 |  | 76028.7 | 10264.838 | 1333.2504 | 20928.528 | 45953.406 |  | 0 | 0 | 0 | 3457.6719 | 0 |  | 0 | 0 | 0 | 0.1764 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 76028.7 | 10264.838 | 1333.2504 | 19604.5878 | 45953.406 | 133.325 | 102.6484 | 78.4184 | 91.9068 | 76.0287
5194 | 197 | 221.1177 | 2-hydroxy-ibuprofen | DTXSID30873789 | ESI- | 222.1256 | 222.125 | 2.6035 | 5.2 | 5.2694 | 0.069445 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1007 | 2-hydroxy-ibuprofen |  | 10 | 100 | 250 | 500 | 1000 | 2455.639 | 2455.639 | [6 empty] | 696.397 |  | 1166.4058 | 1166.4058 | [5 empty] | 0 | 2455.639 |  |  | 696.397 | 1166.4058 |  | 2455.639 |  |  | 696.397 | 1166.4058 |  | 0 |  |  |  | 0 |  | 0 |  |  |  | 0 | 0 | 2 | 0 | 0 | 1 | 2 | 0 | 100 | 0 | 0 | 25 | 100 | 2455.639 |  |  | 696.397 | 1166.4058 |  |  | 2.7856 | 2.3328 | 2.4556
5097 | 108 | 161.9862 | ace-K | DTXSID1030606 | ESI- | 162.9939 | 162.9935 | 2.4044 | 1.68 | 1.6709 | 0.0091057 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.0827 | ace-K |  | 10 | 100 | 250 | 500 | 1000 | 14401.584 | 14401.584 | 1933.8088 | 1933.8088 |  |  | 4661.281 | 5277.7036 | 5676.5967 | 5087.5693 | 8379.933 | 8379.933 | [5 empty] | 0 | 14401.584 | 1933.8088 |  | 5175.7876 | 8379.933 |  | 14401.584 | 1933.8088 |  | 5182.6364 | 8379.933 |  | 0 | 0 |  | 421.7804 | 0 |  | 0 | 0 |  | 0.0815 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 14401.584 | 1933.8088 |  | 5175.7876 | 8379.933 |  | 19.3381 | 20.7032 | 16.7599 | 14.4016
5075 | 114 | 150.0555 | acetaminophen | DTXSID2020006 | ESI- | 151.0633 | 151.0628 | 3.521 | 2.8 | 2.8803 | 0.080323 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1933 | acetaminophen |  | 10 | 100 | 250 | 500 | 1000 | 1993.9435 | 1993.9435 | 97.6778 | 97.6778 |  |  | 431.1375 | 340.9958 |  | 505.3294 | 1031.2462 | 1031.2462 | [5 empty] | 0 | 1993.9435 | 97.6778 |  | 425.8209 | 1031.2462 |  | 1993.9435 | 97.6778 |  | 431.1375 | 1031.2462 |  | 0 | 0 |  | 82.2957 | 0 |  | 0 | 0 |  | 0.1933 | 0 | 0 | 2 | 2 | 0 | 3 | 2 | 0 | 100 | 100 | 0 | 75 | 100 | 1993.9435 | 97.6778 |  | 425.8209 | 1031.2462 |  | 0.97678 | 1.7033 | 2.0625 | 1.9939
5219 | 119 | 238.1443 | albuterol | DTXSID5021255 | ESI- | 239.1521 | 239.1515 | 2.3638 | 3 | 3.1198 | 0.11976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.3659 | albuterol |  | 10 | 100 | 250 | 500 | 1000 | 6628.119 | 6628.119 | 237.2462 | 237.2462 |  |  | 705.587 | 1795.399 | 1933.4585 | 1618.4047 | 3279.56 | 3279.56 | [5 empty] | 0 | 6628.119 | 237.2462 |  | 1513.2123 | 3279.56 |  | 6628.119 | 237.2462 |  | 1706.9018 | 3279.56 |  | 0 | 0 |  | 553.6425 | 0 |  | 0 | 0 |  | 0.3659 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 6628.119 | 237.2462 |  | 1513.2123 | 3279.56 |  | 2.3725 | 6.0528 | 6.5591 | 6.6281
5734 | 706 | 407.1377 | amlodipine | DTXSID7022596 | ESI- | 408.1452 | 408.145 | 0.60812 | 9.7 | 9.7998 | 0.099758 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1054 | amlodipine |  | 10 | 100 | 250 | 500 | 1000 | 4210.9634 | 4210.9634 | 341.4983 | 341.4983 |  |  | 937.9052 | 1012.0285 | 1183.3557 | 976.4264 | 2139.8801 | 2139.8801 | [5 empty] | 0 | 4210.9634 | 341.4983 |  | 1027.4289 | 2139.8801 |  | 4210.9634 | 341.4983 |  | 994.2274 | 2139.8801 |  | 0 | 0 |  | 108.2683 | 0 |  | 0 | 0 |  | 0.1054 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 4210.9634 | 341.4983 |  | 1027.4289 | 2139.8801 |  | 3.415 | 4.1097 | 4.2798 | 4.211
5879 | 819 | 557.2457 | atorvastatin | DTXSID8029868 | ESI- | 558.253 | 558.253 | 0.01648 | 10.8 | 10.8127 | 0.012683 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1237 | atorvastatin |  | 10 | 100 | 250 | 500 | 1000 | [6 empty] | 566.5176 | [10 empty] | 0 |  |  |  | 566.5176 | [5 empty] | 566.5176 | [13 empty] | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 25 | 0 |  |  |  | 566.5176 |  |  |  | 2.2661
5833 | 904 | 493.2037 | fluocinonide | DTXSID8045307 | ESI- | 494.2116 | 494.211 | 1.1983 | 11.2 | 11.4337 | 0.23372 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 5853(Cl);5864(HCO2);5901(CF3CO2); | 0.0905 | fluocinonide |  | 10 | 100 | 250 | 500 | 1000 | [7 empty] | 212.4933 | [9 empty] | 0 |  |  |  | 212.4933 | [5 empty] | 212.4933 | [13 empty] | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 25 | 0 |  |  |  | 212.4933 |  |  |  | 0.84997
5563 | 261 | 329.0001 | furosemide | DTXSID6020648 | ESI- | 330.0077 | 330.0074 | 1.0079 | 6.2 | 6.2133 | 0.01327 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 5375(CO2); | 0.0941 | furosemide |  | 10 | 100 | 250 | 500 | 1000 | 11027.376 | 11027.376 |  |  |  |  | 2929.0273 | 3412.0867 | 3503.347 |  | 5949.4683 | 5949.4683 | [5 empty] | 0 | 11027.376 |  |  | 3281.487 | 5949.4683 |  | 11027.376 |  |  | 3412.0867 | 5949.4683 |  | 0 |  |  | 308.6308 | 0 |  | 0 |  |  | 0.0941 | 0 | 0 | 2 | 0 | 0 | 3 | 2 | 0 | 100 | 0 | 0 | 75 | 100 | 11027.376 |  |  | 3281.487 | 5949.4683 |  |  | 13.1259 | 11.8989 | 11.0274
5120 | 116 | 170.1182 | gabapentin | DTXSID0020074 | ESI- | 171.1259 | 171.1254 | 2.6694 | 2.8 | 2.9193 | 0.11931 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1103 | gabapentin |  | 10 | 100 | 250 | 500 | 1000 | 4005.547 | 4005.547 | 321.0864 | 321.0864 |  |  | 897.8383 | 1048.6051 | 1144.0027 | 939.0409 | 1755.2468 | 1755.2468 | [5 empty] | 0 | 4005.547 | 321.0864 |  | 1007.3718 | 1755.2468 |  | 4005.547 | 321.0864 |  | 993.823 | 1755.2468 |  | 0 | 0 |  | 111.1079 | 0 |  | 0 | 0 |  | 0.1103 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 4005.547 | 321.0864 |  | 1007.3718 | 1755.2468 |  | 3.2109 | 4.0295 | 3.5105 | 4.0055
5246 | 1043 | 249.1492 | gemfibrozil | DTXSID0020652 | ESI- | 250.1569 | 250.1565 | 1.6741 | 12.5 | 12.6672 | 0.16717 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.0752 | gemfibrozil |  | 10 | 100 | 250 | 500 | 1000 | 12783.561 | 12783.561 |  |  |  |  | 2963.048 | 3020.9775 | 3298.4873 | 2804.4536 | 6183.0225 | 6183.0225 | [5 empty] | 0 | 12783.561 |  |  | 3021.7416 | 6183.0225 |  | 12783.561 |  |  | 2992.0128 | 6183.0225 |  | 0 |  |  | 205.9513 | 0 |  | 0 |  |  | 0.0682 | 0 | 0 | 2 | 0 | 0 | 4 | 2 | 0 | 100 | 0 | 0 | 100 | 100 | 12783.561 |  |  | 3021.7416 | 6183.0225 |  |  | 12.087 | 12.366 | 12.7836
5787 | 581 | 444.1707 | glipizide | DTXSID0040676 | ESI- | 445.1784 | 445.178 | 0.91402 | 8.6 | 8.6934 | 0.093419 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.0973 | glipizide |  | 10 | 100 | 250 | 500 | 1000 | 17405.006 | 17405.006 | 1938.676 | 1938.676 | 172.7895 | 172.7895 | 4837.796 | 5282.7305 | 5507.621 | 4764.3877 | 9402.848 | 9402.848 | [5 empty] | 0 | 17405.006 | 1938.676 | 172.7895 | 5098.1338 | 9402.848 |  | 17405.006 | 1938.676 | 172.7895 | 5060.2632 | 9402.848 |  | 0 | 0 | 0 | 356.3322 | 0 |  | 0 | 0 | 0 | 0.0699 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 17405.006 | 1938.676 | 172.7895 | 5098.1338 | 9402.848 | 17.2789 | 19.3868 | 20.3925 | 18.8057 | 17.405
5832 | 857 | 492.1363 | glyburide | DTXSID0037237 | ESI- | 493.1438 | 493.1436 | 0.4376 | 11.1 | 11.1589 | 0.058853 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1366 | glyburide |  | 10 | 100 | 250 | 500 | 1000 | 9551.62 | 9551.62 | 986.9954 | 986.9954 |  |  | 2349.8086 | 2798.846 | 3155.5876 | 2444.8557 | 4867.175 | 4867.175 | [5 empty] | 0 | 9551.62 | 986.9954 |  | 2687.2745 | 4867.175 |  | 9551.62 | 986.9954 |  | 2621.8508 | 4867.175 |  | 0 | 0 |  | 367.1582 | 0 |  | 0 | 0 |  | 0.1366 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 9551.62 | 986.9954 |  | 2687.2745 | 4867.175 |  | 9.87 | 10.7491 | 9.7344 | 9.5516
5410 | 138 | 295.9567 | hydrochlorothiazide | DTXSID2020713 | ESI- | 296.9645 | 296.9639 | 1.9056 | 3.65 | 3.7281 | 0.078104 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1708 | hydrochlorothiazide |  | 10 | 100 | 250 | 500 | 1000 | 6672.4287 | 6672.4287 | 739.2517 | 739.2517 | 108.8574 | 108.8574 | 1704.9678 | 2015.7109 | 2076.525 | 1850.3755 | 3487.6672 | 3487.6672 | [5 empty] | 0 | 6672.4287 | 739.2517 | 108.8574 | 1911.8948 | 3487.6672 |  | 6672.4287 | 739.2517 | 108.8574 | 1933.0432 | 3487.6672 |  | 0 | 0 | 0 | 167.8137 | 0 |  | 0 | 0 | 0 | 0.0878 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 6672.4287 | 739.2517 | 108.8574 | 1911.8948 | 3487.6672 | 10.8857 | 7.3925 | 7.6476 | 6.9753 | 6.6724
5167 | 764 | 205.1227 | ibuprofen | DTXSID5020732 | ESI- | 206.1307 | 206.13 | 3.6322 | 10.1 | 10.2442 | 0.14422 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1447 | ibuprofen |  | 10 | 100 | 250 | 500 | 1000 | 4134.759 | 4134.759 | 233.1799 | 233.1799 |  |  | 561.7887 | 753.4902 | 750.6371 | 614.9017 | 1306.3419 | 1306.3419 | [5 empty] | 0 | 4134.759 | 233.1799 |  | 670.2044 | 1306.3419 |  | 4134.759 | 233.1799 |  | 682.7694 | 1306.3419 |  | 0 | 0 |  | 96.9851 | 0 |  | 0 | 0 |  | 0.1447 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 4134.759 | 233.1799 |  | 670.2044 | 1306.3419 |  | 2.3318 | 2.6808 | 2.6127 | 4.1348
5636 | 442 | 357.1705 | prednisone | DTXSID4021185 | ESI- | 358.178 | 358.1777 | 0.74851 | 7.85 | 7.9511 | 0.10114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.0371 | prednisone |  | 10 | 100 | 250 | 500 | 1000 | 1814.9885 | 1814.9885 |  |  |  |  | 456.4611 |  |  |  | 899.9362 | 899.9362 | [5 empty] | 0 | 1814.9885 |  |  | 456.4611 | 899.9362 |  | 1814.9885 |  |  | 456.4611 | 899.9362 |  | 0 |  |  |  | 0 |  | 0 |  |  |  | 0 | 0 | 2 | 0 | 0 | 1 | 2 | 0 | 100 | 0 | 0 | 25 | 100 | 1814.9885 |  |  | 456.4611 | 899.9362 |  |  | 1.8258 | 1.7999 | 1.815
5493 | 132 | 313.1334 | ranitidine | DTXSID8045191 | ESI- | 314.1413 | 314.1407 | 1.9625 | 3.66 | 3.6958 | 0.035786 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.4863 | ranitidine |  | 10 | 100 | 250 | 500 | 1000 | 3658.9504 | 3658.9504 | 383.3315 | 383.3315 |  |  | 464.6461 | 481.02 | 1117.6196 | 525.1794 | 1836.3589 | 1836.3589 | [5 empty] | 0 | 3658.9504 | 383.3315 |  | 647.1163 | 1836.3589 |  | 3658.9504 | 383.3315 |  | 503.0997 | 1836.3589 |  | 0 | 0 |  | 314.709 | 0 |  | 0 | 0 |  | 0.4863 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 3658.9504 | 383.3315 |  | 647.1163 | 1836.3589 |  | 3.8333 | 2.5885 | 3.6727 | 3.659
5708 | 179 | 395.0068 | sucralose | DTXSID1040245 | ESI- | 396.0146 | 396.0141 | 1.355 | 4.9 | 4.9357 | 0.035713 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 5639(Cl);5781(HCO2); | 0.1254 | sucralose |  | 10 | 100 | 250 | 500 | 1000 | 5884.7935 | 5884.7935 |  |  |  |  | 1246.1951 | 1546.9052 | 1559.4148 | 1327.3613 | 2906.1953 | 2906.1953 | [5 empty] | 0 | 5884.7935 |  |  | 1419.9691 | 2906.1953 |  | 5884.7935 |  |  | 1437.1332 | 2906.1953 |  | 0 |  |  | 157.4076 | 0 |  | 0 |  |  | 0.1109 | 0 | 0 | 2 | 0 | 0 | 4 | 2 | 0 | 100 | 0 | 0 | 100 | 100 | 5884.7935 |  |  | 1419.9691 | 2906.1953 |  |  | 5.6799 | 5.8124 | 5.8848
5136 | 126 | 179.057 | theophylline | DTXSID5021336 | ESI- | 180.0647 | 180.0643 | 2.1215 | 3.25 | 3.3613 | 0.11128 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.0885 | theophylline |  | 10 | 100 | 250 | 500 | 1000 | 14921.14 | 14921.14 | 1744.5808 | 1744.5808 |  |  | 4287.0303 | 4972.9297 | 5074.7344 | 4338.323 | 8078.9336 | 8078.9336 | [5 empty] | 0 | 14921.14 | 1744.5808 |  | 4668.2544 | 8078.9336 |  | 14921.14 | 1744.5808 |  | 4655.6264 | 8078.9336 |  | 0 | 0 |  | 413.2149 | 0 |  | 0 | 0 |  | 0.0885 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 14921.14 | 1744.5808 |  | 4668.2544 | 8078.9336 |  | 17.4458 | 18.673 | 16.1579 | 14.9211
5464 | 524 | 307.0977 | warfarin | DTXSID5023742 | ESI- | 308.1049 | 308.1049 | 0.15644 | 8.3 | 8.3578 | 0.057795 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1076 | warfarin |  | 10 | 100 | 250 | 500 | 1000 | 31367.033 | 31367.033 | 2875.0476 | 2875.0476 |  |  | 7490.361 | 9195.482 | 9629.431 | 8465.485 | 15662.428 | 15662.428 | [5 empty] | 0 | 31367.033 | 2875.0476 |  | 8695.1898 | 15662.428 |  | 31367.033 | 2875.0476 |  | 8830.4835 | 15662.428 |  | 0 | 0 |  | 935.8553 | 0 |  | 0 | 0 |  | 0.1076 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 31367.033 | 2875.0476 |  | 8695.1898 | 15662.428 |  | 28.7505 | 34.7808 | 31.3249 | 31.367

## Calibration Curve Metrics
Surrogate_Group | Ionization Mode | Slope | Intercept | R-squared
10-hydroxy-amitriptyline | ESI+ | 0.902 | 2.592 | 0.998
acetaminophen | ESI+ | 0.903 | 1.634 | 0.999
albuterol | ESI+ | 0.977 | 1.852 | 0.998
alprazolam | ESI+ | 0.882 | 2.318 | 0.998
amitriptyline | ESI+ | 1.018 | 2.495 | 0.999
amlodipine | ESI+ | 1.071 | 0.518 | 0.99
amphetamine | ESI+ | 0.913 | 1.706 | 0.997
atenolol | ESI+ | 0.945 | 2.248 | 0.997
atorvastatin | ESI+ | 1.172 | 0.221 | 0.908
benztropine | ESI+ | 1.04 | 2.453 | 0.999
betamethasone | ESI+ | 0.866 | 1.363 | 1
caffeine | ESI+ | 0.99 | 1.543 | 0.981
carbamazepine | ESI+ | 0.761 | 2.755 | 0.999
cimetidine | ESI+ | 0.887 | 2.105 | 0.998
clonidine | ESI+ | 0.957 | 2.272 | 0.996
cocaine | ESI+ | 0.968 | 2.588 | 0.997
desmethylsertraline | ESI+ | 1.094 | 0.235 | 1
diltiazem | ESI+ | 0.969 | 2.421 | 0.999
enalapril | ESI+ | 1.058 | 2.068 | 0.998
fentanyl | ESI+ | 0.956 | 2.62 | 0.998
fluocinonide | ESI+ | 0.915 | 1.944 | 0.981
fluticasone propionate | ESI+ | 0.998 | 0.795 | 0.961
gabapentin | ESI+ | 0.955 | 2.137 | 0.997
heroin | ESI+ | 0.958 | 2.368 | 0.992
hydrocodone | ESI+ | 0.933 | 2.056 | 0.972
hydrocortisone | ESI+ | 0.952 | 1.656 | 0.996
mdma | ESI+ | 0.919 | 2.261 | 0.991
metformin | ESI+ | 0.802 | 1.971 | 0.989
methamphetamine | ESI+ | 0.94 | 2.226 | 0.998
methylprednisolone | ESI+ | 1.014 | 1.128 | 0.994
metoprolol | ESI+ | 0.945 | 2.452 | 0.999
n-desmethyldiltiazem | ESI+ | 0.944 | 2.309 | 0.998
norethindrone | ESI+ | 0.992 | 1.813 | 0.997
norfluoxetine | ESI+ | 1.009 | 1.268 | 0.998
norverapamil | ESI+ | 1.026 | 2.275 | 1
oxycodone | ESI+ | 0.954 | 2.026 | 0.996
paroxetine | ESI+ | 1.042 | 2.21 | 0.998
prednisolone | ESI+ | 0.972 | 1.257 | 1
prednisone | ESI+ | 1.009 | 1.452 | 0.995
progesterone | ESI+ | 1.05 | 1.562 | 0.986
promethazine | ESI+ | 0.971 | 2.406 | 0.999
propanolol | ESI+ | 0.909 | 2.704 | 0.998
propoxyphene | ESI+ | 1.044 | 1.331 | 0.993
ranitidine | ESI+ | 0.97 | 1.828 | 0.996
sertraline | ESI+ | 1.198 | 0.996 | 0.998
sulfamethoxazole | ESI+ | 1.009 | 1.703 | 0.992
theophylline | ESI+ | 1.032 | 1.384 | 0.977
tramadol | ESI+ | 0.872 | 2.419 | 0.997
triamterene | ESI+ | 0.881 | 2.392 | 0.995
trimethoprim | ESI+ | 0.876 | 2.552 | 0.999
valsartan | ESI+ | 0.927 | 1.406 | 0.992
verapamil | ESI+ | 1.007 | 2.325 | 0.999
warfarin | ESI+ | 0.882 | 2.237 | 0.997
2-hydroxy-ibuprofen | ESI- | 0.909 | 0.646 | 0.989
ace-K | ESI- | 0.862 | 1.594 | 0.99
acetaminophen | ESI- | 1.317 | -0.592 | 0.987
albuterol | ESI- | 1.435 | -0.399 | 0.968
amlodipine | ESI- | 1.092 | 0.369 | 0.998
furosemide | ESI- | 0.874 | 1.418 | 1
gabapentin | ESI- | 1.073 | 0.381 | 0.994
gemfibrozil | ESI- | 1.04 | 0.985 | 1
glipizide | ESI- | 1.009 | 1.25 | 0.999
glyburide | ESI- | 0.977 | 1.056 | 0.998
hydrochlorothiazide | ESI- | 0.896 | 1.121 | 0.999
ibuprofen | ESI- | 1.218 | -0.093 | 0.988
prednisone | ESI- | 0.996 | 0.27 | 1
ranitidine | ESI- | 1.016 | 0.491 | 0.968
sucralose | ESI- | 1.026 | 0.694 | 1
theophylline | ESI- | 0.924 | 1.417 | 0.996
warfarin | ESI- | 1.026 | 1.433 | 0.995

## Pos Mode RF Percentile Ests
Response Factor Percentile Estimate | 2.5th | 50.0th | 97.5th
Minimum | 1.2305 | 29.2484 | 211.476
Median | 3.6315 | 79.0388 | 350.4652
Maximum | 28.6993 | 179.4076 | 407.7194

## Neg Mode RF Percentile Ests
Response Factor Percentile Estimate | 2.5th | 50.0th | 97.5th
Minimum | 0.84997 | 2.0625 | 6.839
Median | 1.2842 | 5.6799 | 25.6315
Maximum | 3.8333 | 17.4458 | 34.7808

## Pos Validation Output
Feature ID | Sample | Median RF (2.5th) | Median RF (50th) | Median RF (97.5th) | qNTA lower bound | qNTA estimate | qNTA upper bound | Targeted Concentration | Accuracy Quotient (AQ) | Absolute Accuracy Quotient (AAQ) | Confidence Limit Fold Range (CLFR) | Median RF (2.5th) LOO | Median RF (50th) LOO | Median RF (97.5th) LOO | qNTA lower bound LOO | qNTA estimate LOO | qNTA upper bound LOO | Accuracy Quotient (AQ) LOO | Absolute Accuracy Quotient (AAQ) LOO | Confidence Limit Fold Range (CLFR) LOO
997 | D1S1_ | 3.6315 | 79.0388 | 350.4652 | 0.9339 | 4.141 | 90.1284 | 3.942 | 1.0505 | 1.0505 | 96.508 | 3.5498 | 83.1011 | 351.3944 | 0.93143 | 3.9385 | 92.202 | 0.99912 | 1.0009 | 98.9901
1916 | D1S1_ | 3.6315 | 79.0388 | 350.4652 | 3.424 | 15.1824 | 330.4445 | 17.18 | 0.88372 | 1.1316 | 96.508 | 3.5637 | 83.1011 | 351.3944 | 3.415 | 14.4402 | 336.7273 | 0.84052 | 1.1897 | 98.6036
2092 | D1S1_ | 3.6315 | 79.0388 | 350.4652 | 9.6634 | 42.8482 | 932.5919 | 17.318 | 2.4742 | 2.4742 | 96.508 | 3.581 | 74.0658 | 351.3936 | 9.6378 | 45.7252 | 945.73 | 2.6403 | 2.6403 | 98.1268
2136 | D1S1_ | 3.6315 | 79.0388 | 350.4652 | 0.62415 | 2.7675 | 60.2353 | 1.382 | 2.0026 | 2.0026 | 96.508 | 3.5498 | 74.0658 | 351.3936 | 0.6225 | 2.9533 | 61.6211 | 2.137 | 2.137 | 98.9899
2155 | D1S1_ | 3.6315 | 79.0388 | 350.4652 | 11.7984 | 52.3154 | 1138.6445 | 4.736 | 11.0463 | 11.0463 | 96.508 | 3.5691 | 74.0658 | 351.0609 | 11.7784 | 55.828 | 1158.5293 | 11.788 | 11.788 | 98.3603
997 | D1S2_ | 3.6315 | 79.0388 | 350.4652 | 1.1261 | 4.9933 | 108.6797 | 8.05 | 0.62029 | 1.6122 | 96.508 | 3.5498 | 83.1011 | 351.3944 | 1.1231 | 4.7492 | 111.1801 | 0.58997 | 1.695 | 98.9901
1621 | D1S2_ | 3.6315 | 79.0388 | 350.4652 | 15.3722 | 68.1616 | 1483.5368 | 40.49 | 1.6834 | 1.6834 | 96.508 | 3.5498 | 74.0658 | 351.0585 | 15.3462 | 72.7382 | 1517.6689 | 1.7964 | 1.7964 | 98.8955
1916 | D1S2_ | 3.6315 | 79.0388 | 350.4652 | 4.4672 | 19.8079 | 431.1185 | 29.208 | 0.67817 | 1.4746 | 96.508 | 3.5637 | 83.1011 | 351.3944 | 4.4554 | 18.8396 | 439.3154 | 0.64501 | 1.5504 | 98.6036
2035 | D1S2_ | 3.6315 | 79.0388 | 350.4652 | 1.3363 | 5.9253 | 128.965 | 1.634 | 3.6263 | 3.6263 | 96.508 | 3.581 | 74.0658 | 342.0003 | 1.3694 | 6.3232 | 130.7818 | 3.8698 | 3.8698 | 95.5037
2092 | D1S2_ | 3.6315 | 79.0388 | 350.4652 | 18.2803 | 81.0566 | 1764.197 | 31.368 | 2.5841 | 2.5841 | 96.508 | 3.581 | 74.0658 | 351.3936 | 18.232 | 86.499 | 1789.0503 | 2.7576 | 2.7576 | 98.1268
2136 | D1S2_ | 3.6315 | 79.0388 | 350.4652 | 1.3661 | 6.0572 | 131.8357 | 3.862 | 1.5684 | 1.5684 | 96.508 | 3.5498 | 74.0658 | 351.3936 | 1.3625 | 6.4639 | 134.8689 | 1.6737 | 1.6737 | 98.9899
2155 | D1S2_ | 3.6315 | 79.0388 | 350.4652 | 19.3649 | 85.8657 | 1868.8664 | 11.73 | 7.3202 | 7.3202 | 96.508 | 3.5691 | 74.0658 | 351.0609 | 19.332 | 91.631 | 1901.5035 | 7.8117 | 7.8117 | 98.3603
4119 | D1S2_ | 3.6315 | 79.0388 | 350.4652 | 0.65584 | 2.9081 | 63.2943 | 0.366 | 7.9456 | 7.9456 | 96.508 | 3.581 | 74.0658 | 351.3936 | 0.65411 | 3.1033 | 64.1859 | 8.4791 | 8.4791 | 98.1268
997 | D1S3_ | 3.6315 | 79.0388 | 350.4652 | 1.2289 | 5.4492 | 118.6019 | 4.336 | 1.2567 | 1.2567 | 96.508 | 3.5498 | 83.1011 | 351.3944 | 1.2257 | 5.1828 | 121.3306 | 1.1953 | 1.1953 | 98.9901
1621 | D1S3_ | 3.6315 | 79.0388 | 350.4652 | 17.448 | 77.3662 | 1683.8749 | 44.39 | 1.7429 | 1.7429 | 96.508 | 3.5498 | 74.0658 | 351.0585 | 17.4185 | 82.5608 | 1722.6162 | 1.8599 | 1.8599 | 98.8955
1916 | D1S3_ | 3.6315 | 79.0388 | 350.4652 | 4.319 | 19.1509 | 416.8196 | 19.08 | 1.0037 | 1.0037 | 96.508 | 3.5637 | 83.1011 | 351.3944 | 4.3076 | 18.2147 | 424.7446 | 0.95465 | 1.0475 | 98.6036
2035 | D1S3_ | 3.6315 | 79.0388 | 350.4652 | 0.86428 | 3.8323 | 83.4103 | 0.902 | 4.2487 | 4.2487 | 96.508 | 3.581 | 74.0658 | 342.0003 | 0.88568 | 4.0896 | 84.5854 | 4.534 | 4.534 | 95.5037
2092 | D1S3_ | 3.6315 | 79.0388 | 350.4652 | 13.3779 | 59.3187 | 1291.0713 | 27.332 | 2.1703 | 2.1703 | 96.508 | 3.581 | 74.0658 | 351.3936 | 13.3425 | 63.3015 | 1309.2594 | 2.316 | 2.316 | 98.1268
2136 | D1S3_ | 3.6315 | 79.0388 | 350.4652 | 0.71137 | 3.1543 | 68.6525 | 1.448 | 2.1784 | 2.1784 | 96.508 | 3.5498 | 74.0658 | 351.3936 | 0.70949 | 3.366 | 70.232 | 2.3246 | 2.3246 | 98.9899
2155 | D1S3_ | 3.6315 | 79.0388 | 350.4652 | 12.6337 | 56.0188 | 1219.2496 | 6.848 | 8.1803 | 8.1803 | 96.508 | 3.5691 | 74.0658 | 351.0609 | 12.6122 | 59.7801 | 1240.5421 | 8.7296 | 8.7296 | 98.3603
2517 | D1S3_ | 3.6315 | 79.0388 | 350.4652 | 0.82727 | 3.6682 | 79.8386 | 1.192 | 3.0774 | 3.0774 | 96.508 | 3.581 | 74.0658 | 351.3936 | 0.82509 | 3.9145 | 80.9634 | 3.284 | 3.284 | 98.1268
1621 | D1S4_ | 3.6315 | 79.0388 | 350.4652 | 0.81843 | 3.629 | 78.9849 | 0.306 | 11.8594 | 11.8594 | 96.508 | 3.5498 | 74.0658 | 351.0585 | 0.81705 | 3.8727 | 80.8021 | 12.6557 | 12.6557 | 98.8955
1621 | D2S1_ | 3.6315 | 79.0388 | 350.4652 | 4.6382 | 20.5664 | 447.6273 | 13.734 | 1.4975 | 1.4975 | 96.508 | 3.5498 | 74.0658 | 351.0585 | 4.6304 | 21.9473 | 457.926 | 1.598 | 1.598 | 98.8955
2092 | D2S1_ | 3.6315 | 79.0388 | 350.4652 | 5.6602 | 25.0978 | 546.2528 | 10.042 | 2.4993 | 2.4993 | 96.508 | 3.581 | 74.0658 | 351.3936 | 5.6452 | 26.7829 | 553.9482 | 2.6671 | 2.6671 | 98.1268
2136 | D2S1_ | 3.6315 | 79.0388 | 350.4652 | 0.30898 | 1.37 | 29.8186 | 1.146 | 1.1955 | 1.1955 | 96.508 | 3.5498 | 74.0658 | 351.3936 | 0.30816 | 1.462 | 30.5047 | 1.2758 | 1.2758 | 98.9899
2155 | D2S1_ | 3.6315 | 79.0388 | 350.4652 | 7.6896 | 34.0965 | 742.1096 | 5.094 | 6.6935 | 6.6935 | 96.508 | 3.5691 | 74.0658 | 351.0609 | 7.6766 | 36.3858 | 755.0694 | 7.1429 | 7.1429 | 98.3603
997 | D2S2_ | 3.6315 | 79.0388 | 350.4652 | 0.69888 | 3.0989 | 67.4476 | 5.202 | 0.59571 | 1.6787 | 96.508 | 3.5498 | 83.1011 | 351.3944 | 0.69703 | 2.9474 | 68.9994 | 0.56659 | 1.7649 | 98.9901
1621 | D2S2_ | 3.6315 | 79.0388 | 350.4652 | 8.1929 | 36.328 | 790.6798 | 21.058 | 1.7251 | 1.7251 | 96.508 | 3.5498 | 74.0658 | 351.0585 | 8.179 | 38.7672 | 808.8712 | 1.841 | 1.841 | 98.8955
2035 | D2S2_ | 3.6315 | 79.0388 | 350.4652 | 1.682 | 7.4581 | 162.3253 | 1.152 | 6.474 | 6.474 | 96.508 | 3.581 | 74.0658 | 342.0003 | 1.7236 | 7.9589 | 164.6121 | 6.9087 | 6.9087 | 95.5037
2092 | D2S2_ | 3.6315 | 79.0388 | 350.4652 | 11.8949 | 52.7432 | 1147.955 | 16.842 | 3.1316 | 3.1316 | 96.508 | 3.581 | 74.0658 | 351.3936 | 11.8635 | 56.2845 | 1164.127 | 3.3419 | 3.3419 | 98.1268
2136 | D2S2_ | 3.6315 | 79.0388 | 350.4652 | 1.5422 | 6.8384 | 148.8375 | 4.924 | 1.3888 | 1.3888 | 96.508 | 3.5498 | 74.0658 | 351.3936 | 1.5382 | 7.2975 | 152.2619 | 1.482 | 1.482 | 98.9899
2155 | D2S2_ | 3.6315 | 79.0388 | 350.4652 | 18.0196 | 79.9007 | 1739.0379 | 9.318 | 8.5749 | 8.5749 | 96.508 | 3.5691 | 74.0658 | 351.0609 | 17.9891 | 85.2655 | 1769.4077 | 9.1506 | 9.1506 | 98.3603
2517 | D2S2_ | 3.6315 | 79.0388 | 350.4652 | 2.7251 | 12.0834 | 262.9945 | 3.684 | 3.28 | 3.28 | 96.508 | 3.581 | 74.0658 | 351.3936 | 2.7179 | 12.8947 | 266.6995 | 3.5002 | 3.5002 | 98.1268
4119 | D2S2_ | 3.6315 | 79.0388 | 350.4652 | 0.53538 | 2.3739 | 51.6685 | 0.284 | 8.3589 | 8.3589 | 96.508 | 3.581 | 74.0658 | 351.3936 | 0.53397 | 2.5333 | 52.3964 | 8.9201 | 8.9201 | 98.1268
997 | D2S3_ | 3.6315 | 79.0388 | 350.4652 | 0.64816 | 2.874 | 62.5528 | 3.34 | 0.86048 | 1.1621 | 96.508 | 3.5498 | 83.1011 | 351.3944 | 0.64645 | 2.7335 | 63.9919 | 0.81842 | 1.2219 | 98.9901
2092 | D2S3_ | 3.6315 | 79.0388 | 350.4652 | 7.2917 | 32.3319 | 703.7043 | 8.804 | 3.6724 | 3.6724 | 96.508 | 3.581 | 74.0658 | 351.3936 | 7.2724 | 34.5028 | 713.6179 | 3.919 | 3.919 | 98.1268
2136 | D2S3_ | 3.6315 | 79.0388 | 350.4652 | 0.7645 | 3.3899 | 73.7804 | 1.778 | 1.9066 | 1.9066 | 96.508 | 3.5498 | 74.0658 | 351.3936 | 0.76248 | 3.6175 | 75.4779 | 2.0346 | 2.0346 | 98.9899
2155 | D2S3_ | 3.6315 | 79.0388 | 350.4652 | 10.2797 | 45.5811 | 992.0729 | 4.298 | 10.6052 | 10.6052 | 96.508 | 3.5691 | 74.0658 | 351.0609 | 10.2623 | 48.6416 | 1009.398 | 11.3173 | 11.3173 | 98.3603
4119 | D2S3_ | 3.6315 | 79.0388 | 350.4652 | 0.38755 | 1.7184 | 37.4013 | 0.08 | 21.4802 | 21.4802 | 96.508 | 3.581 | 74.0658 | 351.3936 | 0.38652 | 1.8338 | 37.9282 | 22.9224 | 22.9224 | 98.1268
997 | D3S1_ | 3.6315 | 79.0388 | 350.4652 | 0.7057 | 3.1291 | 68.1054 | 3.134 | 0.99844 | 1.0016 | 96.508 | 3.5498 | 83.1011 | 351.3944 | 0.70383 | 2.9762 | 69.6724 | 0.94964 | 1.053 | 98.9901
1621 | D3S1_ | 3.6315 | 79.0388 | 350.4652 | 22.5782 | 100.1137 | 2178.974 | 63.126 | 1.5859 | 1.5859 | 96.508 | 3.5498 | 74.0658 | 351.0585 | 22.54 | 106.8356 | 2229.1061 | 1.6924 | 1.6924 | 98.8955
1916 | D3S1_ | 3.6315 | 79.0388 | 350.4652 | 1.7919 | 7.9455 | 172.9335 | 11.926 | 0.66623 | 1.501 | 96.508 | 3.5637 | 83.1011 | 351.3944 | 1.7872 | 7.5571 | 176.2215 | 0.63366 | 1.5781 | 98.6036
2092 | D3S1_ | 3.6315 | 79.0388 | 350.4652 | 6.5349 | 28.9763 | 630.6684 | 19.728 | 1.4688 | 1.4688 | 96.508 | 3.581 | 74.0658 | 351.3936 | 6.5176 | 30.9218 | 639.5531 | 1.5674 | 1.5674 | 98.1268
2155 | D3S1_ | 3.6315 | 79.0388 | 350.4652 | 4.953 | 21.9618 | 477.9995 | 4.806 | 4.5697 | 4.5697 | 96.508 | 3.5691 | 74.0658 | 351.0609 | 4.9445 | 23.4364 | 486.347 | 4.8765 | 4.8765 | 98.3603
2325 | D3S1_ | 3.6315 | 79.0388 | 350.4652 | 0.25002 | 1.1086 | 24.1291 | 0.332 | 3.3392 | 3.3392 | 96.508 | 3.5498 | 74.0658 | 339.2959 | 0.25825 | 1.1831 | 24.6843 | 3.5634 | 3.5634 | 95.5819
997 | D3S2_ | 3.6315 | 79.0388 | 350.4652 | 0.58484 | 2.5932 | 56.4418 | 3.544 | 0.73173 | 1.3666 | 96.508 | 3.5498 | 83.1011 | 351.3944 | 0.58329 | 2.4665 | 57.7404 | 0.69596 | 1.4369 | 98.9901
1621 | D3S2_ | 3.6315 | 79.0388 | 350.4652 | 21.6861 | 96.1582 | 2092.8831 | 63.226 | 1.5209 | 1.5209 | 96.508 | 3.5498 | 74.0658 | 351.0585 | 21.6495 | 102.6146 | 2141.0346 | 1.623 | 1.623 | 98.8955
1916 | D3S2_ | 3.6315 | 79.0388 | 350.4652 | 2.114 | 9.3737 | 204.0179 | 11.388 | 0.82312 | 1.2149 | 96.508 | 3.5637 | 83.1011 | 351.3944 | 2.1084 | 8.9154 | 207.8969 | 0.78288 | 1.2773 | 98.6036
2035 | D3S2_ | 3.6315 | 79.0388 | 350.4652 | 1.3964 | 6.1918 | 134.7653 | 0.656 | 9.4388 | 9.4388 | 96.508 | 3.581 | 74.0658 | 342.0003 | 1.431 | 6.6076 | 136.6638 | 10.0725 | 10.0725 | 95.5037
2092 | D3S2_ | 3.6315 | 79.0388 | 350.4652 | 7.4522 | 33.0435 | 719.1922 | 18.832 | 1.7546 | 1.7546 | 96.508 | 3.581 | 74.0658 | 351.3936 | 7.4325 | 35.2622 | 729.324 | 1.8725 | 1.8725 | 98.1268
2155 | D3S2_ | 3.6315 | 79.0388 | 350.4652 | 7.3167 | 32.4429 | 706.1188 | 2.666 | 12.1691 | 12.1691 | 96.508 | 3.5691 | 74.0658 | 351.0609 | 7.3043 | 34.6212 | 718.4501 | 12.9862 | 12.9862 | 98.3603
997 | D3S3_ | 3.6315 | 79.0388 | 350.4652 | 0.79532 | 3.5265 | 76.7552 | 3.95 | 0.8928 | 1.1201 | 96.508 | 3.5498 | 83.1011 | 351.3944 | 0.79322 | 3.3541 | 78.5211 | 0.84915 | 1.1776 | 98.9901
1621 | D3S3_ | 3.6315 | 79.0388 | 350.4652 | 25.0942 | 111.2699 | 2421.7892 | 60.24 | 1.8471 | 1.8471 | 96.508 | 3.5498 | 74.0658 | 351.0585 | 25.0518 | 118.7409 | 2477.5079 | 1.9711 | 1.9711 | 98.8955
2035 | D3S3_ | 3.6315 | 79.0388 | 350.4652 | 0.94401 | 4.1858 | 91.1041 | 0.906 | 4.6201 | 4.6201 | 96.508 | 3.581 | 74.0658 | 342.0003 | 0.96737 | 4.4669 | 92.3875 | 4.9303 | 4.9303 | 95.5037
2092 | D3S3_ | 3.6315 | 79.0388 | 350.4652 | 8.3206 | 36.8944 | 803.006 | 19.278 | 1.9138 | 1.9138 | 96.508 | 3.581 | 74.0658 | 351.3936 | 8.2986 | 39.3716 | 814.3185 | 2.0423 | 2.0423 | 98.1268
2155 | D3S3_ | 3.6315 | 79.0388 | 350.4652 | 8.3041 | 36.821 | 801.4095 | 4.072 | 9.0425 | 9.0425 | 96.508 | 3.5691 | 74.0658 | 351.0609 | 8.29 | 39.2933 | 815.405 | 9.6496 | 9.6496 | 98.3603
2517 | D3S3_ | 3.6315 | 79.0388 | 350.4652 | 0.98455 | 4.3656 | 95.0168 | 1.46 | 2.9901 | 2.9901 | 96.508 | 3.581 | 74.0658 | 351.3936 | 0.98195 | 4.6587 | 96.3553 | 3.1909 | 3.1909 | 98.1268

## Pos Validation Summary
AQ | AAQ | CLFR | AQ_LOO | AAQ_LOO | CLFR_LOO | ORP | ORP_LOO
0.59571 | 1.0016 | 96.508 | 0.56659 | 1.0009 | 95.5037 | 0.7193 | 0.7193
2.1703 | 2.1703 | 96.508 | 2.316 | 2.316 | 98.3603 | 0.7193 | 0.7193
21.4802 | 21.4802 | 96.508 | 22.9224 | 22.9224 | 98.9901 | 0.7193 | 0.7193