## Surrogate Detection Statistics
Feature ID | MZmine_ID | m/z | Chemical Name | DTXSID | Ionization Mode | Mass | Observed Mass | Mass Error (PPM) | Retention Time | Observed Retention Time | Retention Time Difference | Selected MRL | MRL (3x) | MRL (5x) | MRL (10x) | Duplicate Feature? | Is Adduct or Loss? | Has Adduct or Loss? | Adduct or Loss Info | Max CV Across Samples | Conc MB | Conc 10ppb_ | Conc 100ppb_ | Conc 250ppb_ | Conc 500ppb_ | Conc 1000ppb_ | 1000ppb_1 | 1000ppb_2 | 100ppb_1 | 100ppb_2 | 10ppb_1 | 10ppb_2 | 250ppb_1 | 250ppb_2 | 250ppb_3 | 250ppb_4 | 500ppb_1 | 500ppb_2 | MB1 | MB2 | MB3 | MB4 | MB5 | Mean MB | Mean 1000ppb_ | Mean 100ppb_ | Mean 10ppb_ | Mean 250ppb_ | Mean 500ppb_ | Median MB | Median 1000ppb_ | Median 100ppb_ | Median 10ppb_ | Median 250ppb_ | Median 500ppb_ | STD MB | STD 1000ppb_ | STD 100ppb_ | STD 10ppb_ | STD 250ppb_ | STD 500ppb_ | CV MB | CV 1000ppb_ | CV 100ppb_ | CV 10ppb_ | CV 250ppb_ | CV 500ppb_ | Detection Count MB | Detection Count 1000ppb_ | Detection Count 100ppb_ | Detection Count 10ppb_ | Detection Count 250ppb_ | Detection Count 500ppb_ | Detection Percentage MB | Detection Percentage 1000ppb_ | Detection Percentage 100ppb_ | Detection Percentage 10ppb_ | Detection Percentage 250ppb_ | Detection Percentage 500ppb_ | BlankSub Mean 1000ppb_ | BlankSub Mean 100ppb_ | BlankSub Mean 10ppb_ | BlankSub Mean 250ppb_ | BlankSub Mean 500ppb_ | RF 10ppb_ | RF 100ppb_ | RF 250ppb_ | RF 500ppb_ | RF 1000ppb_
2565 | 1794 | 294.1857 | 10-hydroxy-amitriptyline | DTXSID90873785 | ESI+ | 293.178 | 293.1784 | 1.2873 | 6.7 | 6.7067 | 0.0066627 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2287(H2O); | 0.1364 |  | 10 | 100 | 250 | 500 | 1000 | 188116.5 | 188116.5 | 23943.703 | 23943.703 | 3060.1472 | 3060.1472 | 54436.598 | 66572.52 | 75812.875 | 62904.504 | 103091.42 | 103091.42 | [5 empty] | 0 | 188116.5 | 23943.703 | 3060.1472 | 64931.6243 | 103091.42 |  | 188116.5 | 23943.703 | 3060.1472 | 64738.512 | 103091.42 |  | 0 | 0 | 0 | 8857.1807 | 0 |  | 0 | 0 | 0 | 0.1364 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 188116.5 | 23943.703 | 3060.1472 | 64931.6243 | 103091.42 | 306.0147 | 239.437 | 259.7265 | 206.1828 | 188.1165
1687 | 477 | 240.1601 | albuterol | DTXSID5021255 | ESI+ | 239.1521 | 239.1529 | 3.1825 | 2.9 | 2.9234 | 0.023417 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1415(H2O); | 0.1484 |  | 10 | 100 | 250 | 500 | 1000 | 56345.12 | 56345.12 | 5952.9014 | 5952.9014 | 671.4661 | 671.4661 | 15253.53 | 19438.846 | 20333.588 | 15547.885 | 31901.066 | 31901.066 | [5 empty] | 0 | 56345.12 | 5952.9014 | 671.4661 | 17643.4622 | 31901.066 |  | 56345.12 | 5952.9014 | 671.4661 | 17493.3655 | 31901.066 |  | 0 | 0 | 0 | 2618.1036 | 0 |  | 0 | 0 | 0 | 0.1484 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 56345.12 | 5952.9014 | 671.4661 | 17643.4622 | 31901.066 | 67.1466 | 59.529 | 70.5738 | 63.8021 | 56.3451
2325 | 3336 | 278.1905 | amitriptyline | DTXSID7022594 | ESI+ | 277.183 | 277.1832 | 0.86044 | 9.3 | 9.3681 | 0.068138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.126 |  | 10 | 100 | 250 | 500 | 1000 | 333468 | 333468 | 32555.186 | 32555.186 | 3273.2114 | 3273.2114 | 80512.484 | 90406.945 | 103025.12 | 78892.02 | 189750.84 | 189750.84 | [5 empty] | 0 | 333468 | 32555.186 | 3273.2114 | 88209.1422 | 189750.84 |  | 333468 | 32555.186 | 3273.2114 | 85459.7145 | 189750.84 |  | 0 | 0 | 0 | 11111.4183 | 0 |  | 0 | 0 | 0 | 0.126 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 333468 | 32555.186 | 3273.2114 | 88209.1422 | 189750.84 | 327.3211 | 325.5519 | 352.8366 | 379.5017 | 333.468
3815 | 3338 | 409.1526 | amlodipine | DTXSID7022596 | ESI+ | 408.1452 | 408.1453 | 0.30871 | 9.3 | 9.3861 | 0.086137 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 3714(NH4); | 0.2112 |  | 10 | 100 | 250 | 500 | 1000 | 5156.272 | 5156.272 |  |  |  |  | 1034.082 | 1492.748 | 1216.5203 | 929.4034 | 2798.316 | 2798.316 | [5 empty] | 0 | 5156.272 |  |  | 1168.1884 | 2798.316 |  | 5156.272 |  |  | 1125.3012 | 2798.316 |  | 0 |  |  | 246.7642 | 0 |  | 0 |  |  | 0.2112 | 0 | 0 | 2 | 0 | 0 | 4 | 2 | 0 | 100 | 0 | 0 | 100 | 100 | 5156.272 |  |  | 1168.1884 | 2798.316 |  |  | 4.6728 | 5.5966 | 5.1563
2136 | 559 | 267.1712 | atenolol | DTXSID2022628 | ESI+ | 266.163 | 266.1639 | 3.3096 | 3.1 | 3.0646 | 0.03544 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1917 |  | 10 | 100 | 250 | 500 | 1000 | 109779.16 | 109779.16 | 13363.116 | 13363.116 | 1512.1017 | 1512.1017 | 31711.145 | 41075.527 | 43647.676 | 33014.902 | 63754.234 | 63754.234 | [5 empty] | 0 | 109779.16 | 13363.116 | 1512.1017 | 37362.3125 | 63754.234 |  | 109779.16 | 13363.116 | 1512.1017 | 37045.2145 | 63754.234 |  | 0 | 0 | 0 | 5891.5032 | 0 |  | 0 | 0 | 0 | 0.1577 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 109779.16 | 13363.116 | 1512.1017 | 37362.3125 | 63754.234 | 151.2102 | 133.6312 | 149.4493 | 127.5085 | 109.7792
4522 | 4838 | 559.262 | atorvastatin | DTXSID8029868 | ESI+ | 558.253 | 558.2547 | 3.0434 | 12 | 12.0589 | 0.058884 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1107 |  | 10 | 100 | 250 | 500 | 1000 | 6021.002 | 6021.002 | 483.4508 | 483.4508 |  |  | 627.6448 |  |  |  | 2872.133 | 2872.133 | [5 empty] | 0 | 6021.002 | 483.4508 |  | 627.6448 | 2872.133 |  | 6021.002 | 483.4508 |  | 627.6448 | 2872.133 |  | 0 | 0 |  |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 2 | 2 | 0 | 1 | 2 | 0 | 100 | 100 | 0 | 25 | 100 | 6021.002 | 483.4508 |  | 627.6448 | 2872.133 |  | 4.8345 | 2.5106 | 5.7443 | 6.021
3724 | 3179 | 393.207 | betamethasone | DTXSID3022667 | ESI+ | 392.1999 | 392.1997 | 0.42478 | 9 | 9.0683 | 0.068293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1306 |  | 10 | 100 | 250 | 500 | 1000 | 9166.664 | 9166.664 |  |  |  |  | 2416.7056 | 3005.1536 | 3106.5938 | 2507.131 | 5005.3774 | 5005.3774 | [5 empty] | 0 | 9166.664 |  |  | 2758.896 | 5005.3774 |  | 9166.664 |  |  | 2756.1423 | 5005.3774 |  | 0 |  |  | 347.379 | 0 |  | 0 |  |  | 0.1259 | 0 | 0 | 2 | 0 | 0 | 4 | 2 | 0 | 100 | 0 | 0 | 100 | 100 | 9166.664 |  |  | 2758.896 | 5005.3774 |  |  | 11.0356 | 10.0108 | 9.1667
997 | 779 | 195.0884 | caffeine | DTXSID0020232 | ESI+ | 194.0804 | 194.0811 | 3.5547 | 4.2 | 4.1811 | 0.018883 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1627 |  | 10 | 100 | 250 | 500 | 1000 | 30430.443 | 30430.443 | 2972.748 | 2972.748 |  |  | 7928.6807 | 10638.295 | 11669.844 | 9900.375 | 16076.573 | 16076.573 | [5 empty] | 0 | 30430.443 | 2972.748 |  | 10034.2987 | 16076.573 |  | 30430.443 | 2972.748 |  | 10269.335 | 16076.573 |  | 0 | 0 |  | 1580.2302 | 0 |  | 0 | 0 |  | 0.1575 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 30430.443 | 2972.748 |  | 10034.2987 | 16076.573 |  | 29.7275 | 40.1372 | 32.1531 | 30.4304
1900 | 547 | 253.1238 | cimetidine | DTXSID4020329 | ESI+ | 252.1157 | 252.1166 | 3.4524 | 3.1 | 3.0316 | 0.068352 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.167 |  | 10 | 100 | 250 | 500 | 1000 | 53864.305 | 53864.305 | 7359.532 | 7359.532 | 966.5189 | 966.5189 | 16867.998 | 20970.955 | 21446.836 | 15105.909 | 33169.71 | 33169.71 | [5 empty] | 0 | 53864.305 | 7359.532 | 966.5189 | 18597.9245 | 33169.71 |  | 53864.305 | 7359.532 | 966.5189 | 18919.4765 | 33169.71 |  | 0 | 0 | 0 | 3105.6072 | 0 |  | 0 | 0 | 0 | 0.167 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 53864.305 | 7359.532 | 966.5189 | 18597.9245 | 33169.71 | 96.6519 | 73.5953 | 74.3917 | 66.3394 | 53.8643
1535 | 642 | 230.025 | clonidine | DTXSID6022846 | ESI+ | 229.0174 | 229.0177 | 1.2217 | 3.7 | 3.7094 | 0.009358 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1339 |  | 10 | 100 | 250 | 500 | 1000 | 129757.42 | 129757.42 | 14125.505 | 14125.505 | 1682.9321 | 1682.9321 | 35933.453 | 45148.434 | 50087.43 | 44284.336 | 71430.83 | 71430.83 | [5 empty] | 0 | 129757.42 | 14125.505 | 1682.9321 | 43863.4133 | 71430.83 |  | 129757.42 | 14125.505 | 1682.9321 | 44716.385 | 71430.83 |  | 0 | 0 | 0 | 5872.2826 | 0 |  | 0 | 0 | 0 | 0.1339 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 129757.42 | 14125.505 | 1682.9321 | 43863.4133 | 71430.83 | 168.2932 | 141.2551 | 175.4537 | 142.8617 | 129.7574
3863 | 2776 | 415.1678 | diltiazem | DTXSID9022940 | ESI+ | 414.1613 | 414.1605 | 1.8995 | 8.4 | 8.3413 | 0.058679 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1373 |  | 10 | 100 | 250 | 500 | 1000 | 202429.64 | 202429.64 | 21195.281 | 21195.281 | 2486.0007 | 2486.0007 | 48746.137 | 60313.55 | 67377.984 | 54787.47 | 115306.336 | 115306.336 | [5 empty] | 0 | 202429.64 | 21195.281 | 2486.0007 | 57806.2852 | 115306.336 |  | 202429.64 | 21195.281 | 2486.0007 | 57550.51 | 115306.336 |  | 0 | 0 | 0 | 7939.4233 | 0 |  | 0 | 0 | 0 | 0.1373 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 202429.64 | 21195.281 | 2486.0007 | 57806.2852 | 115306.336 | 248.6001 | 211.9528 | 231.2251 | 230.6127 | 202.4296
3600 | 2335 | 377.2075 | enalapril | DTXSID5022982 | ESI+ | 376.1998 | 376.2002 | 1.1356 | 7.6 | 7.553 | 0.047045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.3693 |  | 10 | 100 | 250 | 500 | 1000 | 161134.47 | 161134.47 | 15169.228 | 15169.228 | 1286.7079 | 1286.7079 | 39026.945 | 57230.562 | 63997.297 | 26207.734 | 81980.805 | 81980.805 | [5 empty] | 0 | 161134.47 | 15169.228 | 1286.7079 | 46615.6345 | 81980.805 |  | 161134.47 | 15169.228 | 1286.7079 | 48128.7535 | 81980.805 |  | 0 | 0 | 0 | 17213.0715 | 0 |  | 0 | 0 | 0 | 0.3693 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 161134.47 | 15169.228 | 1286.7079 | 46615.6345 | 81980.805 | 128.6708 | 151.6923 | 186.4625 | 163.9616 | 161.1345
4297 | 4512 | 495.2207 | fluocinonide | DTXSID8045307 | ESI+ | 494.2116 | 494.2134 | 3.6322 | 11.4 | 11.4872 | 0.08725 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4425(K); | 0.1376 |  | 10 | 100 | 250 | 500 | 1000 | 48310.195 | 48310.195 | 6363.3154 | 6363.3154 |  |  | 10730.385 | 13170.937 | 12661.067 | 9789.066 | 28951.414 | 28951.414 | [5 empty] | 0 | 48310.195 | 6363.3154 |  | 11587.8637 | 28951.414 |  | 48310.195 | 6363.3154 |  | 11695.726 | 28951.414 |  | 0 | 0 |  | 1594.6608 | 0 |  | 0 | 0 |  | 0.1376 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 48310.195 | 6363.3154 |  | 11587.8637 | 28951.414 |  | 63.6332 | 46.3515 | 57.9028 | 48.3102
2660 | 819 | 300.1603 | hydrocodone | DTXSID8023131 | ESI+ | 299.1521 | 299.153 | 3.0767 | 4.3 | 4.2879 | 0.012087 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.2161 |  | 10 | 100 | 250 | 500 | 1000 | 65902.24 | 65902.24 | 7317.8027 | 7317.8027 |  |  | 18637.027 | 27574.557 | 30183.615 | 21662.73 | 37032.883 | 37032.883 | [5 empty] | 0 | 65902.24 | 7317.8027 |  | 24514.4822 | 37032.883 |  | 65902.24 | 7317.8027 |  | 24618.6435 | 37032.883 |  | 0 | 0 |  | 5297.172 | 0 |  | 0 | 0 |  | 0.2161 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 65902.24 | 7317.8027 |  | 24514.4822 | 37032.883 |  | 73.178 | 98.0579 | 74.0658 | 65.9022
200 | 348 | 130.109 | metformin | DTXSID2023270 | ESI+ | 129.1014 | 129.1018 | 2.756 | 0.81 | 0.82698 | 0.01698 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 112(NH4); | 0.1402 |  | 10 | 100 | 250 | 500 | 1000 | 19737.432 | 19737.432 | 4312.906 | 4312.906 | 527.7368 | 527.7368 | 9587.222 | 9643.257 | 9847.618 | 7161.507 | 13878.972 | 13878.972 | [5 empty] | 0 | 19737.432 | 4312.906 | 527.7368 | 9059.901 | 13878.972 |  | 19737.432 | 4312.906 | 527.7368 | 9615.2395 | 13878.972 |  | 0 | 0 | 0 | 1270.5339 | 0 |  | 0 | 0 | 0 | 0.1402 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 19737.432 | 4312.906 | 527.7368 | 9059.901 | 13878.972 | 52.7737 | 43.1291 | 36.2396 | 27.7579 | 19.7374
3778 | 2718 | 401.1527 | n-desmethyldiltiazem | DTXSID60873797 | ESI+ | 400.1457 | 400.1455 | 0.60978 | 8.3 | 8.3288 | 0.028838 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3400(CO2); | 0.2064 |  | 10 | 100 | 250 | 500 | 1000 | 144088.28 | 144088.28 | 14200.111 | 14200.111 | 1855.3389 | 1855.3389 | 31041.857 | 47189.793 | 48898.86 | 37063.508 | 68274.68 | 68274.68 | [5 empty] | 0 | 144088.28 | 14200.111 | 1855.3389 | 41048.5045 | 68274.68 |  | 144088.28 | 14200.111 | 1855.3389 | 42126.6505 | 68274.68 |  | 0 | 0 | 0 | 8472.6363 | 0 |  | 0 | 0 | 0 | 0.2064 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 144088.28 | 14200.111 | 1855.3389 | 41048.5045 | 68274.68 | 185.5339 | 142.0011 | 164.194 | 136.5494 | 144.0883
2907 | 751 | 316.155 | oxycodone | DTXSID5023407 | ESI+ | 315.1471 | 315.1477 | 1.9407 | 4.1 | 4.0987 | 0.001252 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 3373(K);2629(H2O);3146(H2O); | 0.1409 |  | 10 | 100 | 250 | 500 | 1000 | 69576.87 | 69576.87 | 8489.958 | 8489.958 | 911.1459 | 911.1459 | 21406.828 | 26173.668 | 28381.291 | 21654.588 | 39002.496 | 39002.496 | [5 empty] | 0 | 69576.87 | 8489.958 | 911.1459 | 24404.0938 | 39002.496 |  | 69576.87 | 8489.958 | 911.1459 | 23914.128 | 39002.496 |  | 0 | 0 | 0 | 3439.616 | 0 |  | 0 | 0 | 0 | 0.1409 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 69576.87 | 8489.958 | 911.1459 | 24404.0938 | 39002.496 | 91.1146 | 84.8996 | 97.6164 | 78.005 | 69.5769
3097 | 3017 | 330.1515 | paroxetine | DTXSID3023425 | ESI+ | 329.1427 | 329.1442 | 4.584 | 8.8 | 8.7972 | 0.002772 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.176 |  | 10 | 100 | 250 | 500 | 1000 | 214024.62 | 214024.62 | 18981.9 | 18981.9 |  |  | 45756.223 | 61407.414 | 64843.285 | 47475.625 | 102795.9 | 102795.9 | [5 empty] | 0 | 214024.62 | 18981.9 |  | 54870.6368 | 102795.9 |  | 214024.62 | 18981.9 |  | 54441.5195 | 102795.9 |  | 0 | 0 |  | 9659.9156 | 0 |  | 0 | 0 |  | 0.176 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 214024.62 | 18981.9 |  | 54870.6368 | 102795.9 |  | 189.819 | 219.4825 | 205.5918 | 214.0246
2035 | 2242 | 260.1653 | propanolol | DTXSID6023525 | ESI+ | 259.1572 | 259.158 | 3.0167 | 7.6 | 7.5787 | 0.02134 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1724(H2O); | 0.1757 |  | 10 | 100 | 250 | 500 | 1000 | 256492.36 | 256492.36 | 31323.406 | 31323.406 | 4077.194 | 4077.194 | 73003.47 | 93557.77 | 101446.3 | 82457.68 | 142787.83 | 142787.83 | [5 empty] | 0 | 256492.36 | 31323.406 | 4077.194 | 87616.305 | 142787.83 |  | 256492.36 | 31323.406 | 4077.194 | 88007.725 | 142787.83 |  | 0 | 0 | 0 | 12472.8522 | 0 |  | 0 | 0 | 0 | 0.1424 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 256492.36 | 31323.406 | 4077.194 | 87616.305 | 142787.83 | 407.7194 | 313.2341 | 350.4652 | 285.5757 | 256.4924
3233 | 3267 | 340.2276 | propoxyphene | DTXSID1023524 | ESI+ | 339.2198 | 339.2203 | 1.5064 | 9.2 | 9.193 | 0.006998 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1175 |  | 10 | 100 | 250 | 500 | 1000 | 27077.643 | 27077.643 | 2437.6216 | 2437.6216 |  |  | 6768.0596 | 8069.1924 | 8501.521 | 6798.412 | 14624.185 | 14624.185 | [5 empty] | 0 | 27077.643 | 2437.6216 |  | 7534.2962 | 14624.185 |  | 27077.643 | 2437.6216 |  | 7433.8022 | 14624.185 |  | 0 | 0 |  | 885.1143 | 0 |  | 0 | 0 |  | 0.1175 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 27077.643 | 2437.6216 |  | 7534.2962 | 14624.185 |  | 24.3762 | 30.1372 | 29.2484 | 27.0776
2888 | 588 | 315.1495 | ranitidine | DTXSID8045191 | ESI+ | 314.1413 | 314.1422 | 2.8401 | 3.2 | 3.1513 | 0.048675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1581 |  | 10 | 100 | 250 | 500 | 1000 | 47849.51 | 47849.51 | 5916.73 | 5916.73 | 596.0774 | 596.0774 | 13580.431 | 17646.021 | 19484.508 | 15222.1455 | 28991.062 | 28991.062 | [5 empty] | 0 | 47849.51 | 5916.73 | 596.0774 | 16483.2764 | 28991.062 |  | 47849.51 | 5916.73 | 596.0774 | 16434.0832 | 28991.062 |  | 0 | 0 | 0 | 2606.1676 | 0 |  | 0 | 0 | 0 | 0.1581 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 47849.51 | 5916.73 | 596.0774 | 16483.2764 | 28991.062 | 59.6077 | 59.1673 | 65.9331 | 57.9821 | 47.8495
2755 | 3705 | 306.0809 | sertraline | DTXSID6023577 | ESI+ | 305.0738 | 305.0736 | 0.66541 | 9.9 | 9.9564 | 0.056414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1544 |  | 10 | 100 | 250 | 500 | 1000 | 36684.77 | 36684.77 | 2392.9192 | 2392.9192 |  |  | 6862.7256 | 8294.856 | 8540.82 | 6135.468 | 18243.455 | 18243.455 | [5 empty] | 0 | 36684.77 | 2392.9192 |  | 7458.4674 | 18243.455 |  | 36684.77 | 2392.9192 |  | 7578.7908 | 18243.455 |  | 0 | 0 |  | 1151.2701 | 0 |  | 0 | 0 |  | 0.1544 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 36684.77 | 2392.9192 |  | 7458.4674 | 18243.455 |  | 23.9292 | 29.8339 | 36.4869 | 36.6848
3898 | 6086 | 419.2775 | simvastatin | DTXSID0023581 | ESI+ | 418.2719 | 418.2702 | 4.1217 | 15.3 | 15.2727 | 0.027318 | 406.2105 | 406.2105 | 545.3029 | 893.0339 | 0 | 0 | 0 |  | 0.352 |  | 10 | 100 | 250 | 500 | 1000 | 1428.0493 | 1428.0493 | [8 empty] | 863.4464 | 863.4464 | 127.3702 | 149.6181 | 268.9337 |  | 244.3658 | 197.5719 | 1428.0493 |  |  |  | 863.4464 | 196.9919 | 1428.0493 |  |  |  | 863.4464 | 69.5462 | 0 |  |  |  | 0 | 0.352 | 0 |  |  |  | 0 | 4 | 2 | 0 | 0 | 0 | 2 | 80 | 100 | 0 | 0 | 0 | 100 | 1230.4774 |  |  |  | 665.8745 |  |  |  | 1.3317 | 1.2305
793 | 612 | 181.0725 | theophylline | DTXSID5021336 | ESI+ | 180.0647 | 180.0652 | 2.9501 | 3.3 | 3.3549 | 0.054863 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1137(Na); | 0.1405 |  | 10 | 100 | 250 | 500 | 1000 | 28280.389 | 28280.389 | 2474.8413 | 2474.8413 |  |  | 7254.7954 | 9048.457 | 10072.268 | 9810.3125 | 14271.8955 | 14271.8955 | [5 empty] | 0 | 28280.389 | 2474.8413 |  | 9046.4582 | 14271.8955 |  | 28280.389 | 2474.8413 |  | 9429.3848 | 14271.8955 |  | 0 | 0 |  | 1270.9339 | 0 |  | 0 | 0 |  | 0.1405 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 28280.389 | 2474.8413 |  | 9046.4582 | 14271.8955 |  | 24.7484 | 36.1858 | 28.5438 | 28.2804
2092 | 1135 | 264.1964 | tramadol | DTXSID90858931 | ESI+ | 263.1885 | 263.1891 | 2.2775 | 5.54 | 5.5771 | 0.037109 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.312 |  | 10 | 100 | 250 | 500 | 1000 | 101866.91 | 101866.91 | 14317.53 | 14317.53 | 1888.2014 | 1888.2014 | 31282.145 | 39179.45 | 43642.004 | 36876.684 | 55945.52 | 55945.52 | [5 empty] | 0 | 101866.91 | 14317.53 | 1888.2014 | 37745.0708 | 55945.52 |  | 101866.91 | 14317.53 | 1888.2014 | 38028.067 | 55945.52 |  | 0 | 0 | 0 | 5143.1109 | 0 |  | 0 | 0 | 0 | 0.1363 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 101866.91 | 14317.53 | 1888.2014 | 37745.0708 | 55945.52 | 188.8201 | 143.1753 | 150.9803 | 111.891 | 101.8669
1918 | 948 | 254.1152 | triamterene | DTXSID6021373 | ESI+ | 253.1076 | 253.1079 | 1.22 | 4.8 | 4.829 | 0.028965 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1377 |  | 10 | 100 | 250 | 500 | 1000 | 97346.54 | 97346.54 | 15959.238 | 15959.238 | 1723.5276 | 1723.5276 | 34262.88 | 37604.03 | 41276.62 | 30354.871 | 57328.707 | 57328.707 | [5 empty] | 0 | 97346.54 | 15959.238 | 1723.5276 | 35874.6003 | 57328.707 |  | 97346.54 | 15959.238 | 1723.5276 | 35933.455 | 57328.707 |  | 0 | 0 | 0 | 4663.2534 | 0 |  | 0 | 0 | 0 | 0.13 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 97346.54 | 15959.238 | 1723.5276 | 35874.6003 | 57328.707 | 172.3528 | 159.5924 | 143.4984 | 114.6574 | 97.3465
2517 | 885 | 291.1454 | trimethoprim | DTXSID3023712 | ESI+ | 290.1379 | 290.1382 | 0.90061 | 4.6 | 4.5941 | 0.0058533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1733 |  | 10 | 100 | 250 | 500 | 1000 | 141976.97 | 141976.97 | 20289.744 | 20289.744 | 2595.9224 | 2595.9224 | 47190.086 | 50120.3 | 56333.055 | 43613.863 | 81999.49 | 81999.49 | [5 empty] | 0 | 141976.97 | 20289.744 | 2595.9224 | 49314.326 | 81999.49 |  | 141976.97 | 20289.744 | 2595.9224 | 48655.193 | 81999.49 |  | 0 | 0 | 0 | 5382.6829 | 0 |  | 0 | 0 | 0 | 0.1092 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 141976.97 | 20289.744 | 2595.9224 | 49314.326 | 81999.49 | 259.5922 | 202.8974 | 197.2573 | 163.999 | 141.977
5194 | 197 | 221.1177 | 2-hydroxy-ibuprofen | DTXSID30873789 | ESI- | 222.1256 | 222.125 | 2.6035 | 5.2 | 5.2694 | 0.069445 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1007 |  | 10 | 100 | 250 | 500 | 1000 | 2455.639 | 2455.639 | [6 empty] | 696.397 |  | 1166.4058 | 1166.4058 | [5 empty] | 0 | 2455.639 |  |  | 696.397 | 1166.4058 |  | 2455.639 |  |  | 696.397 | 1166.4058 |  | 0 |  |  |  | 0 |  | 0 |  |  |  | 0 | 0 | 2 | 0 | 0 | 1 | 2 | 0 | 100 | 0 | 0 | 25 | 100 | 2455.639 |  |  | 696.397 | 1166.4058 |  |  | 2.7856 | 2.3328 | 2.4556
5097 | 108 | 161.9862 | ace-K | DTXSID1030606 | ESI- | 162.9939 | 162.9935 | 2.4044 | 1.68 | 1.6709 | 0.0091057 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.0827 |  | 10 | 100 | 250 | 500 | 1000 | 14401.584 | 14401.584 | 1933.8088 | 1933.8088 |  |  | 4661.281 | 5277.7036 | 5676.5967 | 5087.5693 | 8379.933 | 8379.933 | [5 empty] | 0 | 14401.584 | 1933.8088 |  | 5175.7876 | 8379.933 |  | 14401.584 | 1933.8088 |  | 5182.6364 | 8379.933 |  | 0 | 0 |  | 421.7804 | 0 |  | 0 | 0 |  | 0.0815 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 14401.584 | 1933.8088 |  | 5175.7876 | 8379.933 |  | 19.3381 | 20.7032 | 16.7599 | 14.4016
5075 | 114 | 150.0555 | acetaminophen | DTXSID2020006 | ESI- | 151.0633 | 151.0628 | 3.521 | 2.8 | 2.8803 | 0.080323 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1933 |  | 10 | 100 | 250 | 500 | 1000 | 1993.9435 | 1993.9435 | 97.6778 | 97.6778 |  |  | 431.1375 | 340.9958 |  | 505.3294 | 1031.2462 | 1031.2462 | [5 empty] | 0 | 1993.9435 | 97.6778 |  | 425.8209 | 1031.2462 |  | 1993.9435 | 97.6778 |  | 431.1375 | 1031.2462 |  | 0 | 0 |  | 82.2957 | 0 |  | 0 | 0 |  | 0.1933 | 0 | 0 | 2 | 2 | 0 | 3 | 2 | 0 | 100 | 100 | 0 | 75 | 100 | 1993.9435 | 97.6778 |  | 425.8209 | 1031.2462 |  | 0.97678 | 1.7033 | 2.0625 | 1.9939
5734 | 706 | 407.1377 | amlodipine | DTXSID7022596 | ESI- | 408.1452 | 408.145 | 0.60812 | 9.7 | 9.7998 | 0.099758 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1054 |  | 10 | 100 | 250 | 500 | 1000 | 4210.9634 | 4210.9634 | 341.4983 | 341.4983 |  |  | 937.9052 | 1012.0285 | 1183.3557 | 976.4264 | 2139.8801 | 2139.8801 | [5 empty] | 0 | 4210.9634 | 341.4983 |  | 1027.4289 | 2139.8801 |  | 4210.9634 | 341.4983 |  | 994.2274 | 2139.8801 |  | 0 | 0 |  | 108.2683 | 0 |  | 0 | 0 |  | 0.1054 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 4210.9634 | 341.4983 |  | 1027.4289 | 2139.8801 |  | 3.415 | 4.1097 | 4.2798 | 4.211
5879 | 819 | 557.2457 | atorvastatin | DTXSID8029868 | ESI- | 558.253 | 558.253 | 0.01648 | 10.8 | 10.8127 | 0.012683 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1237 |  | 10 | 100 | 250 | 500 | 1000 | [6 empty] | 566.5176 | [10 empty] | 0 |  |  |  | 566.5176 | [5 empty] | 566.5176 | [13 empty] | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 25 | 0 |  |  |  | 566.5176 |  |  |  | 2.2661
5563 | 261 | 329.0001 | furosemide | DTXSID6020648 | ESI- | 330.0077 | 330.0074 | 1.0079 | 6.2 | 6.2133 | 0.01327 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 5375(CO2); | 0.0941 |  | 10 | 100 | 250 | 500 | 1000 | 11027.376 | 11027.376 |  |  |  |  | 2929.0273 | 3412.0867 | 3503.347 |  | 5949.4683 | 5949.4683 | [5 empty] | 0 | 11027.376 |  |  | 3281.487 | 5949.4683 |  | 11027.376 |  |  | 3412.0867 | 5949.4683 |  | 0 |  |  | 308.6308 | 0 |  | 0 |  |  | 0.0941 | 0 | 0 | 2 | 0 | 0 | 3 | 2 | 0 | 100 | 0 | 0 | 75 | 100 | 11027.376 |  |  | 3281.487 | 5949.4683 |  |  | 13.1259 | 11.8989 | 11.0274
5787 | 581 | 444.1707 | glipizide | DTXSID0040676 | ESI- | 445.1784 | 445.178 | 0.91402 | 8.6 | 8.6934 | 0.093419 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.0973 |  | 10 | 100 | 250 | 500 | 1000 | 17405.006 | 17405.006 | 1938.676 | 1938.676 | 172.7895 | 172.7895 | 4837.796 | 5282.7305 | 5507.621 | 4764.3877 | 9402.848 | 9402.848 | [5 empty] | 0 | 17405.006 | 1938.676 | 172.7895 | 5098.1338 | 9402.848 |  | 17405.006 | 1938.676 | 172.7895 | 5060.2632 | 9402.848 |  | 0 | 0 | 0 | 356.3322 | 0 |  | 0 | 0 | 0 | 0.0699 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 17405.006 | 1938.676 | 172.7895 | 5098.1338 | 9402.848 | 17.2789 | 19.3868 | 20.3925 | 18.8057 | 17.405
5832 | 857 | 492.1363 | glyburide | DTXSID0037237 | ESI- | 493.1438 | 493.1436 | 0.4376 | 11.1 | 11.1589 | 0.058853 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1366 |  | 10 | 100 | 250 | 500 | 1000 | 9551.62 | 9551.62 | 986.9954 | 986.9954 |  |  | 2349.8086 | 2798.846 | 3155.5876 | 2444.8557 | 4867.175 | 4867.175 | [5 empty] | 0 | 9551.62 | 986.9954 |  | 2687.2745 | 4867.175 |  | 9551.62 | 986.9954 |  | 2621.8508 | 4867.175 |  | 0 | 0 |  | 367.1582 | 0 |  | 0 | 0 |  | 0.1366 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 9551.62 | 986.9954 |  | 2687.2745 | 4867.175 |  | 9.87 | 10.7491 | 9.7344 | 9.5516
5410 | 138 | 295.9567 | hydrochlorothiazide | DTXSID2020713 | ESI- | 296.9645 | 296.9639 | 1.9056 | 3.65 | 3.7281 | 0.078104 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1708 |  | 10 | 100 | 250 | 500 | 1000 | 6672.4287 | 6672.4287 | 739.2517 | 739.2517 | 108.8574 | 108.8574 | 1704.9678 | 2015.7109 | 2076.525 | 1850.3755 | 3487.6672 | 3487.6672 | [5 empty] | 0 | 6672.4287 | 739.2517 | 108.8574 | 1911.8948 | 3487.6672 |  | 6672.4287 | 739.2517 | 108.8574 | 1933.0432 | 3487.6672 |  | 0 | 0 | 0 | 167.8137 | 0 |  | 0 | 0 | 0 | 0.0878 | 0 | 0 | 2 | 2 | 2 | 4 | 2 | 0 | 100 | 100 | 100 | 100 | 100 | 6672.4287 | 739.2517 | 108.8574 | 1911.8948 | 3487.6672 | 10.8857 | 7.3925 | 7.6476 | 6.9753 | 6.6724
5493 | 132 | 313.1334 | ranitidine | DTXSID8045191 | ESI- | 314.1413 | 314.1407 | 1.9625 | 3.66 | 3.6958 | 0.035786 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.4863 |  | 10 | 100 | 250 | 500 | 1000 | 3658.9504 | 3658.9504 | 383.3315 | 383.3315 |  |  | 464.6461 | 481.02 | 1117.6196 | 525.1794 | 1836.3589 | 1836.3589 | [5 empty] | 0 | 3658.9504 | 383.3315 |  | 647.1163 | 1836.3589 |  | 3658.9504 | 383.3315 |  | 503.0997 | 1836.3589 |  | 0 | 0 |  | 314.709 | 0 |  | 0 | 0 |  | 0.4863 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 3658.9504 | 383.3315 |  | 647.1163 | 1836.3589 |  | 3.8333 | 2.5885 | 3.6727 | 3.659
5708 | 179 | 395.0068 | sucralose | DTXSID1040245 | ESI- | 396.0146 | 396.0141 | 1.355 | 4.9 | 4.9357 | 0.035713 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 5639(Cl);5781(HCO2); | 0.1254 |  | 10 | 100 | 250 | 500 | 1000 | 5884.7935 | 5884.7935 |  |  |  |  | 1246.1951 | 1546.9052 | 1559.4148 | 1327.3613 | 2906.1953 | 2906.1953 | [5 empty] | 0 | 5884.7935 |  |  | 1419.9691 | 2906.1953 |  | 5884.7935 |  |  | 1437.1332 | 2906.1953 |  | 0 |  |  | 157.4076 | 0 |  | 0 |  |  | 0.1109 | 0 | 0 | 2 | 0 | 0 | 4 | 2 | 0 | 100 | 0 | 0 | 100 | 100 | 5884.7935 |  |  | 1419.9691 | 2906.1953 |  |  | 5.6799 | 5.8124 | 5.8848
5464 | 524 | 307.0977 | warfarin | DTXSID5023742 | ESI- | 308.1049 | 308.1049 | 0.15644 | 8.3 | 8.3578 | 0.057795 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1076 |  | 10 | 100 | 250 | 500 | 1000 | 31367.033 | 31367.033 | 2875.0476 | 2875.0476 |  |  | 7490.361 | 9195.482 | 9629.431 | 8465.485 | 15662.428 | 15662.428 | [5 empty] | 0 | 31367.033 | 2875.0476 |  | 8695.1898 | 15662.428 |  | 31367.033 | 2875.0476 |  | 8830.4835 | 15662.428 |  | 0 | 0 |  | 935.8553 | 0 |  | 0 | 0 |  | 0.1076 | 0 | 0 | 2 | 2 | 0 | 4 | 2 | 0 | 100 | 100 | 0 | 100 | 100 | 31367.033 | 2875.0476 |  | 8695.1898 | 15662.428 |  | 28.7505 | 34.7808 | 31.3249 | 31.367

## Calibration Curve Metrics
Chemical Name | Slope | Intercept | R-squared
10-hydroxy-amitriptyline | 0.902 | 2.592 | 0.998
albuterol | 0.977 | 1.852 | 0.998
amitriptyline | 1.018 | 2.495 | 0.999
amlodipine | 1.071 | 0.518 | 0.99
atenolol | 0.945 | 2.248 | 0.997
atorvastatin | 1.172 | 0.221 | 0.908
betamethasone | 0.866 | 1.363 | 1
caffeine | 0.99 | 1.543 | 0.981
cimetidine | 0.887 | 2.105 | 0.998
clonidine | 0.957 | 2.272 | 0.996
diltiazem | 0.969 | 2.421 | 0.999
enalapril | 1.058 | 2.068 | 0.998
fluocinonide | 0.915 | 1.944 | 0.981
hydrocodone | 0.933 | 2.056 | 0.972
metformin | 0.802 | 1.971 | 0.989
n-desmethyldiltiazem | 0.944 | 2.309 | 0.998
oxycodone | 0.954 | 2.026 | 0.996
paroxetine | 1.042 | 2.21 | 0.998
propanolol | 0.909 | 2.704 | 0.998
propoxyphene | 1.044 | 1.331 | 0.993
ranitidine | 0.97 | 1.828 | 0.996
sertraline | 1.198 | 0.996 | 0.998
theophylline | 1.032 | 1.384 | 0.977
tramadol | 0.872 | 2.419 | 0.997
triamterene | 0.881 | 2.392 | 0.995
trimethoprim | 0.876 | 2.552 | 0.999
2-hydroxy-ibuprofen | 0.909 | 0.646 | 0.989
ace-K | 0.862 | 1.594 | 0.99
acetaminophen | 1.317 | -0.592 | 0.987
amlodipine | 1.092 | 0.369 | 0.998
furosemide | 0.874 | 1.418 | 1
glipizide | 1.009 | 1.25 | 0.999
glyburide | 0.977 | 1.056 | 0.998
hydrochlorothiazide | 0.896 | 1.121 | 0.999
ranitidine | 1.016 | 0.491 | 0.968
sucralose | 1.026 | 0.694 | 1
warfarin | 1.026 | 1.433 | 0.995

## Pos Mode RF Percentile Ests
Response Factor Percentile Estimate | 2.5th | 50.0th | 97.5th
Minimum | 1.2305 | 27.7579 | 145.7032
Median | 3.7822 | 74.0658 | 318.3072
Maximum | 36.5101 | 205.5918 | 407.7194

## Neg Mode RF Percentile Ests
Response Factor Percentile Estimate | 2.5th | 50.0th | 97.5th
Minimum | 0.97678 | 2.2661 | 4.211
Median | 2.0688 | 6.6387 | 27.4969
Maximum | 7.9863 | 30.0377 | 34.7808

## Pos Validation Output
Feature ID | Sample | Median RF (2.5th) | Median RF (50th) | Median RF (97.5th) | qNTA lower bound | qNTA estimate | qNTA upper bound | Targeted Concentration | Accuracy Quotient (AQ) | Absolute Accuracy Quotient (AAQ) | Confidence Limit Fold Range (CLFR) | Median RF (2.5th) LOO | Median RF (50th) LOO | Median RF (97.5th) LOO | qNTA lower bound LOO | qNTA estimate LOO | qNTA upper bound LOO | Accuracy Quotient (AQ) LOO | Absolute Accuracy Quotient (AAQ) LOO | Confidence Limit Fold Range (CLFR) LOO
997 | D1S1_ | 3.7822 | 74.0658 | 318.3072 | 1.0282 | 4.419 | 86.5354 | 3.942 | 1.121 | 1.121 | 84.1583 | 3.6841 | 85.2623 | 320.7979 | 1.0203 | 3.8387 | 88.8407 | 0.9738 | 1.0269 | 87.0764
1918 | D1S1_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 1.052 |  |  |  | 3.6841 | 72.0846 | 318.5167
2035 | D1S1_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.56 |  |  |  | 3.521 | 72.4828 | 277.457
2092 | D1S1_ | 3.7822 | 74.0658 | 318.3072 | 10.6396 | 45.7252 | 895.4138 | 17.318 | 2.6403 | 2.6403 | 84.1583 | 3.6841 | 72.0846 | 318.5167 | 10.6326 | 46.9819 | 919.2677 | 2.7129 | 2.7129 | 86.4572
2136 | D1S1_ | 3.7822 | 74.0658 | 318.3072 | 0.6872 | 2.9533 | 57.8339 | 1.382 | 2.137 | 2.137 | 84.1583 | 3.6841 | 72.4828 | 320.7979 | 0.68187 | 3.0178 | 59.3747 | 2.1837 | 2.1837 | 87.0764
2517 | D1S1_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.622 |  |  |  | 3.6841 | 72.0846 | 318.5167
2660 | D1S1_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.5 |  |  |  | 3.6841 | 80.7373 | 320.7979
2907 | D1S1_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 1.138 |  |  |  | 3.521 | 74.0658 | 320.7979
3863 | D1S1_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.768 |  |  |  | 3.6841 | 72.4828 | 320.8218
997 | D1S2_ | 3.7822 | 74.0658 | 318.3072 | 1.2399 | 5.3286 | 104.3471 | 8.05 | 0.66194 | 1.5107 | 84.1583 | 3.6841 | 85.2623 | 320.7979 | 1.2303 | 4.6288 | 107.1269 | 0.57501 | 1.7391 | 87.0764
1918 | D1S2_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 3 |  |  |  | 3.6841 | 72.0846 | 318.5167
2035 | D1S2_ | 3.7822 | 74.0658 | 318.3072 | 1.4713 | 6.3232 | 123.8237 | 1.634 | 3.8698 | 3.8698 | 84.1583 | 3.521 | 72.4828 | 277.457 | 1.6879 | 6.4613 | 133.0119 | 3.9543 | 3.9543 | 78.8012
2092 | D1S2_ | 3.7822 | 74.0658 | 318.3072 | 20.1272 | 86.499 | 1693.8665 | 31.368 | 2.7576 | 2.7576 | 84.1583 | 3.6841 | 72.0846 | 318.5167 | 20.1139 | 88.8764 | 1738.9913 | 2.8333 | 2.8333 | 86.4572
2136 | D1S2_ | 3.7822 | 74.0658 | 318.3072 | 1.5041 | 6.4639 | 126.58 | 3.862 | 1.6737 | 1.6737 | 84.1583 | 3.6841 | 72.4828 | 320.7979 | 1.4924 | 6.6051 | 129.9522 | 1.7103 | 1.7103 | 87.0764
2517 | D1S2_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 2.796 |  |  |  | 3.6841 | 72.0846 | 318.5167
2660 | D1S2_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.786 |  |  |  | 3.6841 | 80.7373 | 320.7979
2907 | D1S2_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 1.7 |  |  |  | 3.521 | 74.0658 | 320.7979
3233 | D1S2_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.11 |  |  |  | 3.6841 | 85.2623 | 320.7979
3778 | D1S2_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.28 |  |  |  | 3.521 | 72.4828 | 320.7979
3863 | D1S2_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 2.622 |  |  |  | 3.6841 | 72.4828 | 320.8218
200 | D1S3_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.36 |  |  |  | 3.521 | 85.6058 | 320.7979
997 | D1S3_ | 3.7822 | 74.0658 | 318.3072 | 1.3531 | 5.8151 | 113.8738 | 4.336 | 1.3411 | 1.3411 | 84.1583 | 3.6841 | 85.2623 | 320.7979 | 1.3426 | 5.0515 | 116.9074 | 1.165 | 1.165 | 87.0764
1918 | D1S3_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 1.642 |  |  |  | 3.6841 | 72.0846 | 318.5167
2035 | D1S3_ | 3.7822 | 74.0658 | 318.3072 | 0.9516 | 4.0896 | 80.0851 | 0.902 | 4.534 | 4.534 | 84.1583 | 3.521 | 72.4828 | 277.457 | 1.0917 | 4.1789 | 86.0278 | 4.633 | 4.633 | 78.8012
2092 | D1S3_ | 3.7822 | 74.0658 | 318.3072 | 14.7294 | 63.3015 | 1239.6022 | 27.332 | 2.316 | 2.316 | 84.1583 | 3.6841 | 72.0846 | 318.5167 | 14.7197 | 65.0413 | 1272.6253 | 2.3797 | 2.3797 | 86.4572
2136 | D1S3_ | 3.7822 | 74.0658 | 318.3072 | 0.78323 | 3.366 | 65.9156 | 1.448 | 2.3246 | 2.3246 | 84.1583 | 3.6841 | 72.4828 | 320.7979 | 0.77715 | 3.4396 | 67.6716 | 2.3754 | 2.3754 | 87.0764
2325 | D1S3_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.36 |  |  |  | 3.6841 | 72.3198 | 269.336
2517 | D1S3_ | 3.7822 | 74.0658 | 318.3072 | 0.91085 | 3.9145 | 76.6558 | 1.192 | 3.284 | 3.284 | 84.1583 | 3.6841 | 72.0846 | 318.5167 | 0.91025 | 4.0221 | 78.6979 | 3.3742 | 3.3742 | 86.4572
2660 | D1S3_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.392 |  |  |  | 3.6841 | 80.7373 | 320.7979
2907 | D1S3_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 1.114 |  |  |  | 3.521 | 74.0658 | 320.7979
3233 | D1S3_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.136 |  |  |  | 3.6841 | 85.2623 | 320.7979
3778 | D1S3_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.112 |  |  |  | 3.521 | 72.4828 | 320.7979
3863 | D1S3_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 1.132 |  |  |  | 3.6841 | 72.4828 | 320.8218
200 | D1S4_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.312 |  |  |  | 3.521 | 85.6058 | 320.7979
997 | D1S4_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 1.022 |  |  |  | 3.6841 | 85.2623 | 320.7979
997 | D2S1_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 2.764 |  |  |  | 3.6841 | 85.2623 | 320.7979
1918 | D2S1_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 1.382 |  |  |  | 3.6841 | 72.0846 | 318.5167
2092 | D2S1_ | 3.7822 | 74.0658 | 318.3072 | 6.232 | 26.7829 | 524.4762 | 10.042 | 2.6671 | 2.6671 | 84.1583 | 3.6841 | 72.0846 | 318.5167 | 6.2279 | 27.519 | 538.4483 | 2.7404 | 2.7404 | 86.4572
2136 | D2S1_ | 3.7822 | 74.0658 | 318.3072 | 0.34019 | 1.462 | 28.6299 | 1.146 | 1.2758 | 1.2758 | 84.1583 | 3.6841 | 72.4828 | 320.7979 | 0.33755 | 1.4939 | 29.3926 | 1.3036 | 1.3036 | 87.0764
2325 | D2S1_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.448 |  |  |  | 3.6841 | 72.3198 | 269.336
2517 | D2S1_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 1.954 |  |  |  | 3.6841 | 72.0846 | 318.5167
2907 | D2S1_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.834 |  |  |  | 3.521 | 74.0658 | 320.7979
3863 | D2S1_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.34 |  |  |  | 3.6841 | 72.4828 | 320.8218
997 | D2S2_ | 3.7822 | 74.0658 | 318.3072 | 0.76949 | 3.307 | 64.7588 | 5.202 | 0.63571 | 1.573 | 84.1583 | 3.6841 | 85.2623 | 320.7979 | 0.76351 | 2.8727 | 66.484 | 0.55223 | 1.8108 | 87.0764
1918 | D2S2_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 2.292 |  |  |  | 3.6841 | 72.0846 | 318.5167
2035 | D2S2_ | 3.7822 | 74.0658 | 318.3072 | 1.8519 | 7.9589 | 155.8542 | 1.152 | 6.9087 | 6.9087 | 84.1583 | 3.521 | 72.4828 | 277.457 | 2.1246 | 8.1327 | 167.4192 | 7.0596 | 7.0596 | 78.8012
2092 | D2S2_ | 3.7822 | 74.0658 | 318.3072 | 13.0966 | 56.2845 | 1102.1913 | 16.842 | 3.3419 | 3.3419 | 84.1583 | 3.6841 | 72.0846 | 318.5167 | 13.088 | 57.8315 | 1131.5538 | 3.4338 | 3.4338 | 86.4572
2136 | D2S2_ | 3.7822 | 74.0658 | 318.3072 | 1.698 | 7.2975 | 142.9041 | 4.924 | 1.482 | 1.482 | 84.1583 | 3.6841 | 72.4828 | 320.7979 | 1.6849 | 7.4569 | 146.711 | 1.5144 | 1.5144 | 87.0764
2517 | D2S2_ | 3.7822 | 74.0658 | 318.3072 | 3.0004 | 12.8947 | 252.5102 | 3.684 | 3.5002 | 3.5002 | 84.1583 | 3.6841 | 72.0846 | 318.5167 | 2.9984 | 13.2491 | 259.2371 | 3.5964 | 3.5964 | 86.4572
2660 | D2S2_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.312 |  |  |  | 3.6841 | 80.7373 | 320.7979
2907 | D2S2_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 1.314 |  |  |  | 3.521 | 74.0658 | 320.7979
3863 | D2S2_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.554 |  |  |  | 3.6841 | 72.4828 | 320.8218
200 | D2S3_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.62 |  |  |  | 3.521 | 85.6058 | 320.7979
997 | D2S3_ | 3.7822 | 74.0658 | 318.3072 | 0.71364 | 3.067 | 60.0591 | 3.34 | 0.91826 | 1.089 | 84.1583 | 3.6841 | 85.2623 | 320.7979 | 0.7081 | 2.6642 | 61.6591 | 0.79767 | 1.2536 | 87.0764
1918 | D2S3_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 1.018 |  |  |  | 3.6841 | 72.0846 | 318.5167
2092 | D2S3_ | 3.7822 | 74.0658 | 318.3072 | 8.0283 | 34.5028 | 675.6509 | 8.804 | 3.919 | 3.919 | 84.1583 | 3.6841 | 72.0846 | 318.5167 | 8.0231 | 35.4511 | 693.6503 | 4.0267 | 4.0267 | 86.4572
2136 | D2S3_ | 3.7822 | 74.0658 | 318.3072 | 0.84174 | 3.6175 | 70.8391 | 1.778 | 2.0346 | 2.0346 | 84.1583 | 3.6841 | 72.4828 | 320.7979 | 0.8352 | 3.6965 | 72.7262 | 2.079 | 2.079 | 87.0764
2517 | D2S3_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 1.69 |  |  |  | 3.6841 | 72.0846 | 318.5167
2907 | D2S3_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.766 |  |  |  | 3.521 | 74.0658 | 320.7979
997 | D3S1_ | 3.7822 | 74.0658 | 318.3072 | 0.77699 | 3.3392 | 65.3904 | 3.134 | 1.0655 | 1.0655 | 84.1583 | 3.6841 | 85.2623 | 320.7979 | 0.77096 | 2.9007 | 67.1324 | 0.92557 | 1.0804 | 87.0764
1918 | D3S1_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 3.426 |  |  |  | 3.6841 | 72.0846 | 318.5167
2035 | D3S1_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 1.02 |  |  |  | 3.521 | 72.4828 | 277.457
2092 | D3S1_ | 3.7822 | 74.0658 | 318.3072 | 7.1951 | 30.9218 | 605.5266 | 19.728 | 1.5674 | 1.5674 | 84.1583 | 3.6841 | 72.0846 | 318.5167 | 7.1904 | 31.7717 | 621.6579 | 1.6105 | 1.6105 | 86.4572
2325 | D3S1_ | 3.7822 | 74.0658 | 318.3072 | 0.27528 | 1.1831 | 23.1672 | 0.332 | 3.5634 | 3.5634 | 84.1583 | 3.6841 | 72.3198 | 269.336 | 0.32533 | 1.2116 | 23.7844 | 3.6495 | 3.6495 | 73.1077
2517 | D3S1_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 1.986 |  |  |  | 3.6841 | 72.0846 | 318.5167
2907 | D3S1_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 1.08 |  |  |  | 3.521 | 74.0658 | 320.7979
3233 | D3S1_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.118 |  |  |  | 3.6841 | 85.2623 | 320.7979
3863 | D3S1_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 1.144 |  |  |  | 3.6841 | 72.4828 | 320.8218
200 | D3S2_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.508 |  |  |  | 3.521 | 85.6058 | 320.7979
997 | D3S2_ | 3.7822 | 74.0658 | 318.3072 | 0.64393 | 2.7674 | 54.1917 | 3.544 | 0.78086 | 1.2806 | 84.1583 | 3.6841 | 85.2623 | 320.7979 | 0.63893 | 2.404 | 55.6354 | 0.67832 | 1.4742 | 87.0764
1918 | D3S2_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 2.972 |  |  |  | 3.6841 | 72.0846 | 318.5167
2035 | D3S2_ | 3.7822 | 74.0658 | 318.3072 | 1.5375 | 6.6076 | 129.3928 | 0.656 | 10.0725 | 10.0725 | 84.1583 | 3.521 | 72.4828 | 277.457 | 1.7639 | 6.7519 | 138.9943 | 10.2925 | 10.2925 | 78.8012
2092 | D3S2_ | 3.7822 | 74.0658 | 318.3072 | 8.205 | 35.2622 | 690.5213 | 18.832 | 1.8725 | 1.8725 | 84.1583 | 3.6841 | 72.0846 | 318.5167 | 8.1996 | 36.2313 | 708.9169 | 1.9239 | 1.9239 | 86.4572
2517 | D3S2_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.894 |  |  |  | 3.6841 | 72.0846 | 318.5167
2907 | D3S2_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 1.096 |  |  |  | 3.521 | 74.0658 | 320.7979
3863 | D3S2_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.494 |  |  |  | 3.6841 | 72.4828 | 320.8218
200 | D3S3_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.356 |  |  |  | 3.521 | 85.6058 | 320.7979
997 | D3S3_ | 3.7822 | 74.0658 | 318.3072 | 0.87567 | 3.7633 | 73.6953 | 3.95 | 0.95274 | 1.0496 | 84.1583 | 3.6841 | 85.2623 | 320.7979 | 0.86888 | 3.2691 | 75.6586 | 0.82763 | 1.2083 | 87.0764
1918 | D3S3_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 4.336 |  |  |  | 3.6841 | 72.0846 | 318.5167
2035 | D3S3_ | 3.7822 | 74.0658 | 318.3072 | 1.0394 | 4.4669 | 87.4721 | 0.906 | 4.9303 | 4.9303 | 84.1583 | 3.521 | 72.4828 | 277.457 | 1.1924 | 4.5644 | 93.9629 | 5.038 | 5.038 | 78.8012
2092 | D3S3_ | 3.7822 | 74.0658 | 318.3072 | 9.1612 | 39.3716 | 770.9939 | 19.278 | 2.0423 | 2.0423 | 84.1583 | 3.6841 | 72.0846 | 318.5167 | 9.1552 | 40.4537 | 791.5332 | 2.0984 | 2.0984 | 86.4572
2517 | D3S3_ | 3.7822 | 74.0658 | 318.3072 | 1.084 | 4.6587 | 91.2289 | 1.46 | 3.1909 | 3.1909 | 84.1583 | 3.6841 | 72.0846 | 318.5167 | 1.0833 | 4.7867 | 93.6592 | 3.2786 | 3.2786 | 86.4572
2907 | D3S3_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.806 |  |  |  | 3.521 | 74.0658 | 320.7979
3233 | D3S3_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.14 |  |  |  | 3.6841 | 85.2623 | 320.7979
3863 | D3S3_ | 3.7822 | 74.0658 | 318.3072 |  |  |  | 0.558 |  |  |  | 3.6841 | 72.4828 | 320.8218